Wood Buffalo Environmental Association

Ambient Air Monitoring Station

Site Documentation

# Bertha Ganter – Fort McKay

LAST UPDATED: February 19, 2026

Table of Contents

General Site Information	4

Station	4

Location	4

Owner/Operator/Approval Holder	4

Site Description	4

Site Influences	5

Localized Sources (within 20 metres of station)	5

Roadway Influences	5

Major Point Sources	5

Station Equipment	6

Analytical Equipment	6

Meteorological Equipment	7

Support Equipment	7

Site photos	12

Station Photos	17

Tables and Figures

Figure 1 – Area Topographic map showing AMS 01	8

Figure 2 – Aerial photo showing AMS 01	9

Figure 3 – Plan view sketch for AMS 01 site	10

Figure 4 – Elevation view image for AMS 01 site	11

Figure 5.0 – Environment looking North	12

Figure 6 – Environment looking East	13

Figure 7 – Environment looking South	14

Figure 8 – Environment looking West	15

Figure 9 – Meteorological Tower	16

Figure 10 – Photo showing the inlet and sample manifold	17

Figure 11 – Curb shot of the monitoring station	18

Figure 12 –Photo of the front and the back of the instrument rack	19

Figure 13 –Photo of the front and the back of the instrument rack	20

Figure 14 – Windrose (Five Year)	21

# General Site Information

Revision Date: March 27, 2024

## Station

| Station ID | AMS 01 |
| --- | --- |
| Station name | Fort McKay – Bertha Ganter |
| Date station established | October 1997 |

## Location

| Station street address | NA |
| --- | --- |
| Legal land description | 13-25-094-11 W4 |
| Airshed Zone | Wood Buffalo Environmental Association |
| Latitude | 57°11'21.94"North |
| Longitude | 111°38'26.10"West |
| UTM East | 461284 |
| UTM North | 6338654 |
| Nearest community | Fort McKay |
| Community population | 757 |
| Census Year | 2021 |

## Owner/Operator/Approval Holder

| Operating Agency | Wood Buffalo Environmental Association |
| --- | --- |
| Address of Operating Agency | Unit 3-805 Memorial Drive, Fort McMurray, Alberta T9K 0K4 |
| Name of Approval Holder | NA |
| Approval number | NA |
| Contact Name | Wood Buffalo Environmental Association |
| Address | Unit 3 – 805 Memorial Drive, Fort McMurray, AB |
| Phone number | 780-799-4420 |
| Email address | info@wbea.org |

## Site Description

| Land use by sector | 0 – 90 degrees | Forest and Residential |
| --- | --- | --- |
|  | 91 – 180 degrees | Residential and Water services |
|  | 181 – 270 degrees | Forest and Residential |
|  | 271 – 360 degrees | Forest and Residential |
| Site elevation (m) (above sea level) | 270m |  |
| Angle of elevation to nearby buildings | Greatest angle | N/A |
|  | Building direction | None |
| Airflow restrictions | North | No |
|  | East | No |
|  | South | No |
|  | West | No |
| Distance to nearest trees (m) | North | 0m |
|  | East | 10m |
|  | West | 20m |
|  | South | 0m |
| Sample manifold | Type | All glass |
|  | Inlet height above roof | 1 meter |
| Wind Sensors | Type | Cup and vane |
|  | Height above ground (m) | 10 m |
|  | Distance from station (m) | Attached to north side of the station |

# Site Influences

## Localized Sources (within 20 metres of station)

| Type | Distance (m) | Description |
| --- | --- | --- |
| Snow dump | 100 | Occasionally heavy trucks and graders parked in the area. |

## Roadway Influences

| Type | Traffic Volume | Distance (m) | Description |
| --- | --- | --- | --- |
| Gravel road | Low | 50 | Access road |
| Gravel road | Medium | 200 | Access road – Range road 110A |

## Major Point Sources

| Facility Name | Source Type | Distance from site (km) | Compass direction from site |
| --- | --- | --- | --- |
| CNRL Albian Sands | Oil Sands Plant | 10 | North East |
| Syncrude Canada Ltd. | Oil Sands Plant | 10 | South East |

# Station Equipment

Equipment Owner: WBEA

## Analytical Equipment

| Parameter | Make | Model | Serial Number | Date Instrument Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- |
| Continuous |  |  |  |  |  |
| SO2 | Thermo Environmental | 43i | JC1501301448 | 2015 | January, 1999 |
| H2S | Thermo Environmental | 43iq-TLE | 1200326167 | 2021 | April, 2021 |
| TRS | Thermo Environmental | 43iq-TLE | 12113311966 | 2025 | January, 2021 |
| NOx/NO/NO2 | Thermo Environmental | 42i | 1336160088 | 2025 | January, 2021 |
| O3 | Teledyne/API | T400 | 7045 | 2025 | January, 2021 |
| NH3 | Teledyne/API | T201 | 152 | 2025 | May, 2006 |
| THC/CH4/NMHC | Thermo Environmental | 55i | 1193585648 | 2025 | January, 2021 |
| CO | Teledyne/API | T300 | 3520 | 2019 | April, 2019 |
| CO2 | Teledyne/API | T360 | 442 | 2022 | April, 2019 |
| PM 2.5 | Teledyne/API | T640 | 323 | 2025 | January, 1999 |
| Time-Integrated |  |  |  |  |  |
| PM 2.5 EC/OC | Thermo Environmental | 2000i | 2000i 20222 1205 | 2018 | - |
| PM 2.5 A | Thermo Environmental | 2000i | 2000i 20390 1308 | 2021 | - |
| PM 10 A | Thermo Environmental | 2000i | 2000i 20457 1405 | 2018 | - |
| PM 10 B | Thermo Environmental | 2000i | 2000I 20484 1408 | 2018 | - |
| PM 2.5 B | Thermo Environmental | 2000i | 2000i 20487 1408 | 2018 | - |
| PAH | Tisch | TE-1000 | 1001056 | 2015 | - |
| PC | Yankee Environmental | TPC-3000 | 164 | 2018 | - |
| PC | N-CON | ADS 00-120 | 60141 | 2018 | - |
| VOC | Tisch | TE123 | 1028 | 2018 | - |
| Triggered VOC | Global Analyzer Systems | G23MTS | 2021-100 | 2022 | - |
| Triggered RSC | Global Analyzer Systems | - | - | 2022 | - |

## Meteorological Equipment

| Parameter | Make | Model | Serial Number | WMO Site Class | Date Sensor Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- | --- |
| WS | Met One | 010C-1 | P10041 | Class 3 | 2015 | January, 1999 |
| WD | Met One | 020C-1 | R14655 | Class 3 | 2022 | January, 1999 |
| AT/RH | Vaisala | HMP155 | NA | Class 3 | 2015 | January, 1999 |
| AT/RH | Vaisala | HMP155 | N0810526 | Class 3 | 2022 | January, 1999 |
| GR | Eppley Radiometer | 8-48 | 38008 | NA | 2025 | January, 1999 |
| PC | OTT | Pluvio 2 | 363525 | Class 3 | 2019 | January, 1999 |
| LW | Campbells Scientific | LWS-L50 | 22121-30 | NA | 2023 | February, 1999 |

## Support Equipment

| Name | Description | Make | Model | Serial Number |
| --- | --- | --- | --- | --- |
| Datalogger | Datalogger | Campbell Scientific | CR3000 | 9036 |
| Gas Dilution Calibrator | Dynamic dilution calibrator | Teledyne/API | T700 | 3565 |
| Zero air generator | Zero Air Generator | Teledyne/API | 701 | 4766 |
| Shelter / Building | Air monitoring portable | ITB | 10 x 20 skid | IBT-16-17048 |
| HVAC | Heating and air conditioning system. Wall mount unit | BARD | 2 ton | NA |
| Deck | Deck for sampling equipment | 10 x 20 | NA | NA |
| Deck | Deck for sampling equipment | 15 x 30 | NA | NA |
| Datalogger | Logger for Pluvio | Campbell Scientific | CR310 | 5016 |
| Datalogger | Logger for camera and AE33 | Campbell Scientific | CR1000 | 23051 |
| N2 generator | N2 generator for the CO/CO2 | Peak Scientific | NG5000A | 722090034 |
| NH3 Converter | External converter for the NH3 analyzer | Teledyne/API | T501 | 484 |
| Thermal Oxidizer | TRS converter | CD Nova | CDN-101 | 580 |
| H2S Converter | External converter for the H2S analyzer | Global Analyzer Systems | G150 | 2022-221 |
| 10m Tower | 10m Tower | Aluma | T135 | NA |

Figure 1 – Area Topographic map showing AMS 01

Figure 2 – Aerial photo showing AMS 01

Figure 3 – Plan view sketch for AMS 01 site

Figure 4 – Elevation view image for AMS 01 site

# Site photos

The following photos show the environment surrounding the monitoring station.

Figure 5.0 – Environment looking North

Figure 6 – Environment looking East

Figure 7 – Environment looking South

Figure 8 – Environment looking West

Figure 9 – Meteorological Tower

# Station Photos

The following photos show the monitoring station and instrumentation.

Figure 10 – Photo showing the inlet and sample manifold

Figure 11 – Curb shot of the monitoring station

Figure 12 –Photo of the front and the back of the instrument rack

Figure 13 –Photo of the front and the back of the instrument rack

Figure 14 – Windrose (Five Year)