Wood Buffalo Environmental Association

Ambient Air Monitoring Station

Site Documentation

# AMS 06 - Patricia McInnes

LAST UPDATED: March 13, 2026

Table of Contents

General Site Information	4

Station	4

Location	4

Owner/Operator/Approval Holder	4

Site Description	4

Site Influences	5

Localized Sources (within 20 metres of station)	5

Roadway Influences	5

Major Point Sources	5

Station Equipment	6

Analytical Equipment	6

Meteorological Equipment	6

Support Equipment	7

Site photos	12

Station Photos	17

Tables and Figures

Figure 1 – Area topographic map showing AMS 06	8

Figure 2 – Aerial image showing AMS 06	9

Figure 3 – Plan view image for AMS 06 site	10

Figure 4 – Elevation view image for AMS 06 site	11

Figure 5 – Environment looking North	12

Figure 6 – Environment looking East	13

Figure 7 – Environment looking South	14

Figure 8 – Environment looking West	15

Figure 9 – Meteorological Tower	16

Figure 10 – Photo showing the sample manifold	17

Figure 11 – Curb shot of the monitoring station	18

Figure 11 –Photo of the front and the back of instrument rack	19

Figure 12 – Windrose (2021-2025)	20

# General Site Information

Revision Date: March 13, 2026

## Station

| Station ID | AMS 06 |
| --- | --- |
| Station name | Patricia McInnes |
| Date station established | 1998 |

## Location

| Station street address | Carteret Street, Fort McMurray |
| --- | --- |
| Legal land description | 10-26-089-10 W4 |
| Airshed Zone | Wood Buffalo Environmental Association |
| Latitude | 56°45’4.96” North |
| Longitude | 111°28’36.10” West |
| UTM East | 470849 |
| UTM North | 6289812 |
| Nearest community | Located in Fort McMurray |
| Community population | 107,740 |
| Census Year | 2025 |

## Owner/Operator/Approval Holder

| Operating Agency | Wood Buffalo Environmental Association |
| --- | --- |
| Address of Operating Agency | Unit 3, 805 Memorial Drive, Fort McMurray, Alberta T9K 0K4 |
| Name of Approval Holder | Wood Buffalo Environmental Association |
| Approval number | N/A |
| Contact Name | Wood Buffalo Environmental Association |
| Address | Unit 3, 805 Memorial Drive, Fort McMurray, Alberta T9K 0K4 |
| Phone number | 780-799-4420 |
| Email address | info@wbea.org |

## Site Description

| Land use by sector | 0 – 90 degrees | Residential |
| --- | --- | --- |
|  | 91 – 180 degrees | Residential |
|  | 181 – 270 degrees | Sports Grounds |
|  | 271 – 360 degrees | Sports Grounds |
| Site elevation (m) (above sea level) | 362 M |  |
| Angle of elevation to nearby buildings | Greatest angle | 0 |
|  | Building direction | N/A |
| Airflow restrictions | North | N/A |
|  | East | N/A |
|  | South | N/A |
|  | West | N/A |
| Distance to nearest trees (m) | North | N/A |
|  | East | N/A |
|  | West | 28m |
|  | South | 4m |
| Sample manifold | Type | All glass |
|  | Inlet height above roof | 1 metre |
| Wind Sensors | Type | Cup and vane |
|  | Height above ground (m) | 10 |
|  | Distance from station (m) | 0 |

# Site Influences

## Localized Sources (within 20 metres of station)

| Type | Distance (m) | Description |
| --- | --- | --- |
| Recreational Complex | About 20-50 meters, north to northwest of the Station | Maintenance of sports fields and recreational complex, possible PM and NOx Sources |
| Residential Subdivision | South and southwest of the station | Wood burning in household stoves and backyard firepits |

## Roadway Influences

| Type | Traffic Volume | Distance (m) | Description |
| --- | --- | --- | --- |
| Residential Road | High | 30 | Paved road |

## Major Point Sources

| Facility Name | Source Type | Distance from site (km) | Compass direction from site |
| --- | --- | --- | --- |
| Fort McMurray Water Treatment Plant | Water treatment plant | 4 | South east |
| Eveready | Asphalt production | 4 | North |
| Suncor / Syncrude | Oil Sands Production | 15 | North |

# Station Equipment

Equipment Owner: WBEA

## Analytical Equipment

| Parameter | Make | Model | Serial Number | Date Instrument Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- |
| Continuous |  |  |  |  |  |
| SO2 | Thermo Scientific | 43i | 1160290013 | 2020 | January, 1999 |
| TRS | Teledyne/API | 43i-TLE | 1218153358 | 2019 | January, 1999 |
| THC/CH4/NMHC/THC | Thermo Scientific | 55i | 1118148494 | 2020 | January, 1999 |
| NOx/NO/NO2 | Thermo Scientific | 42i | 1172750022 | 2016 | January, 1999 |
| NH3 | Teledyne/API | T201 | 215 | 2020 | August, 2006 |
| O3 | Teledyne/API | T400 | 7046 | 2026 | January, 1999 |
| PM 2.5 | Teledyne/API | T640 | 871 | 2020 | January, 1999 |
| Time-Integrated |  |  |  |  |  |
| PM 2.5 A | Thermo Scientific | 2000i | 2000I203861308 | 2018 | - |
| PM 2.5 B | Thermo Scientific | 2000i | 2000I204851408 | 2018 | - |
| PM 10 A | Thermo Scientific | 2000i | 2000I202151205 | 2018 | - |
| PM 10 B | Thermo Scientific | 2000i | 2000IW20205251411 | 2018 | - |
| PAH | Tisch | TE-1004BL | 1001099 | 2016 | - |
| VOC | Tisch | TE-123 | 1021 | 2016 | - |
| Dustfall | Advantage Manufacturing | - | - | 2022 | - |

## Meteorological Equipment

| Parameter | Make | Model | Serial Number | WMO Site Class | Date Instrument Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- | --- |
| AT/RH | Vaisala | HMP155 | N3840525 | Class 3 | 2020 | January, 1999 |
| WS | Met One | 010C-1 | B10015 | Class 3 | 2021 | January, 1999 |
| WD | Met One | 020C-1 | E4854 | Class 3 | 2016 | January, 1999 |

## Support Equipment

| Name | Description | Make | Model | Serial Number |
| --- | --- | --- | --- | --- |
| Datalogger | Datalogger | Campbell Scientific | CR3000 | 10957 |
| Zero air generator | Zero Air Generator | Teledyne/API | T701 | 4602 |
| HVAC | Heating and air conditioning system. Wall mount unit | BARD | 2 ton | 314H183561152-02 |
| Shelter / Building | Air monitoring portable | ITB | 8 x 16 trailer | 09-14786 |
| Gas Dilution Calibrator | Mass flow controlled gas dilution | Teledyne/API | T700 | 5240 |
| Thermal Oxidizer | TRS Converter | CD Nova Instruments Ltd. | CDN-101 | 621 |
| Thermal Oxidizer | NH3 Converter | API | T501 | 147 |
| Tower | Aluma Tower | Aluma | T135 | N/A |
| Hydrogen Generator | Hydrogen Generator | Peak Scientific Canada | 63-0100 | 771056335 |

Figure 1 – Area topographic map showing AMS 06

Figure 2 – Aerial image showing AMS 06

Figure 3 – Plan view image for AMS 06 site

Figure 4 – Elevation view image for AMS 06 site

# Site photos

The following photos show the environment surrounding the monitoring station.

Figure 5 – Environment looking North

Figure 6 – Environment looking East

Figure 7 – Environment looking South

Figure 8 – Environment looking West

Figure 9 – Meteorological Tower

# Station Photos

The following photos show the monitoring station and instrumentation.

Figure 10 – Photo showing the sample manifold

Figure 11 – Curb shot of the monitoring station

Figure 11 –Photo of the front and the back of instrument rack

Figure 12 – Windrose (2021-2025)