Wood Buffalo Environmental Association

Ambient Air Monitoring Station

Site Documentation

# Barge Landing

LAST UPDATED: February 18, 2026

Table of Contents

General Site Information	4

Station	4

Location	4

Owner/Operator/Approval Holder	4

Site Description	4

Site Influences	5

Localized Sources (within 20 metres of station)	5

Roadway Influences	5

Major Point Sources	5

Station Equipment	6

Analytical Equipment	6

Meteorological Equipment	6

Support Equipment	6

Site photos	12

Station Photos	17

Tables and Figures

Figure 1 – Area topographic map showing AMS 09	7

Figure 2 – Aerial photo showing AMS 09	8

Figure 3 – Plan view sketch for AMS 09 site	9

Figure 4 – Elevation view image for AMS 09 site, section A-A	10

Figure 5 – Elevation view image for AMS 09 site, section B-B	11

Figure 6 – Environment looking North	12

Figure 7 – Environment looking East	13

Figure 8 – Environment looking South	14

Figure 9 – Environment looking West	15

Figure 10 – Meteorological Tower	16

Figure 11 – Photo showing the inlet and sample manifold	17

Figure 12 – Curb shot of the monitoring station	18

Figure 13 –Photo of the front and the back of instrument rack	19

Figure 14 – Windrose (2021 – 2025)	20

# General Site Information

Revision Date: February 18, 2026

## Station

| Station ID | AMS 09 |
| --- | --- |
| Station name | Barge Landing |
| Date station established | 2000 |

## Location

| Station street address | Northeast of the Barge Landing Road, approximately 460 meters northwest of the Highway 63 intersection |
| --- | --- |
| Legal land description | 7-31-094-10 W4 |
| Airshed Zone | Wood Buffalo Environmental Association |
| Latitude | 57.198178 |
| Longitude | -111.59946327 |
| UTM East | 463778 |
| UTM North | 6339606 |
| Nearest community | Fort Mackay |
| Community population | 757 |
| Census Year | 2021 |

## Owner/Operator/Approval Holder

| Operating Agency | Wood Buffalo Environmental Association |
| --- | --- |
| Address of Operating Agency | Unit 3, 805 Memorial Drive, Fort McMurray, Alberta T9K 0K4 |
| Name of Approval Holder | Canadian Natural Upgrading Limited |
| Approval number | 20809-02-00 |
| Contact Name | Tina Ding |
| Address | Albian Sands, P.O. Box 5670 |
| Phone number | 780-713-4454 |
| Email address | Tina.Ding@cnrl.com |

## Site Description

| Land use by sector | 0 – 90 degrees | Wooded area |
| --- | --- | --- |
|  | 91 – 180 degrees | Wooded area |
|  | 181 – 270 degrees | Wooded area |
|  | 271 – 360 degrees | Wooded area |
| Site elevation (m) (above sea level) | 282 m |  |
| Angle of elevation to nearby buildings | Greatest angle | N/A |
|  | Building direction | N/A |
| Airflow restrictions | North | Trees |
|  | East | Trees |
|  | South | Trees |
|  | West | Trees |
| Distance to nearest trees (m) | North | 10 m |
|  | East | 10 m |
|  | West | 10 m |
|  | South | 20 m |
| Sample manifold | Type | All glass |
|  | Inlet height above roof | 1 metre |
| Wind Sensors | Type | Cup and vane |
|  | Height above ground (m) | 20 m |
|  | Distance from station (m) | 2 m |

# Site Influences

## Localized Sources (within 20 metres of station)

| Type | Distance (m) | Description |
| --- | --- | --- |
| None | N/A | N/A |

## Roadway Influences

| Type | Traffic Volume | Distance (m) | Description |
| --- | --- | --- | --- |
| Barge Landing Road | Very low | 70 | Well maintained dirt access road frequented by pickup trucks and heavy equipment |
| Highway 63 | Medium | 400 | Provincial highway frequented by tractor trailers and pickup trucks. |

## Major Point Sources

| Facility Name | Source Type | Distance from site (km) | Compass direction from site |
| --- | --- | --- | --- |
| CNRL Albian | Oil Sands Plant | 10 | NE |
| CNRL Horizon | Oil Sands Plant | 20 | NW |

# Station Equipment

Equipment Owner: Canadian Natural

## Analytical Equipment

| Parameter | Make | Model | Serial Number | Date Instrument Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- |
| Continuous |  |  |  |  |  |
| SO2 | Thermo Environmental | 43i | 1118148498 | 2018 | December, 2018 |
| TRS | Thermo Environmental | 43iq-TLE | 1203169744 | 2025 | January, 1999 |
| NOx/NO/NO2 | Thermo Environmental | 42i | 1426262593 | 2018 | December, 2018 |
| THC/CH4/NMHC | Thermo Environmental | 55i | 1193585652 | 2025 | January, 1999 |
| PM 2.5 | Teledyne | T640 | 2237 | 2025 | January, 2019 |
| Time-Integrated |  |  |  |  |  |
| VOC | Global Analyzers Systems ltd. | G170 | 2023-236 | 2023 | - |

## Meteorological Equipment

| Parameter | Make | Model | Serial Number | WMO Site Class | Date Sensor Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- | --- |
| AT/RH | Vaisala | HMP155 | P3640808 | 3 | 2023 | January, 2000 |
| WS | Met One | 010C-1 | E16831 | 4 | 2025 | August, 2021 |
| WD | Met One | 020C-1 | E16004 | 4 | 2025 | August, 2021 |
| Barometric Pressure | WBEA | 61302V-10 | BPA4394 | N/A | 2018 | December, 2018 |

## Support Equipment

| Name | Description | Make | Model | Serial Number |
| --- | --- | --- | --- | --- |
| Datalogger | Datalogger | Campbell Scientific | CR3000 | 1850 |
| Gas Dilution Calibrator | Dynamic dilution calibrator | Teledyne/API | T700 | 3812 |
| Zero air generator | Zero Air Generator | Teledyne/API | 701 | 4888 |
| Hydrogen Generator | Hydrogen Generator | AMA Instruments | HG 300 | 171067036 |
| TRS Converter | Thermal Oxidizer | CD Nova | CDN-101 | 519 |
| Shelter / Building | Air monitoring portable | ITB | 10 x 20 | ITB0814464 |

Figure 1 – Area topographic map showing AMS 09

Figure 2 – Aerial photo showing AMS 09

Figure 3 – Plan view sketch for AMS 09 site

Figure 4 – Elevation view image for AMS 09 site, section A-A

Figure 5 – Elevation view image for AMS 09 site, section B-B

# Site photos

The following photos show the environment surrounding the monitoring station.

Figure 6 – Environment looking North

Figure 7 – Environment looking East

Figure 8 – Environment looking South

Figure 9 – Environment looking West

Figure 10 – Meteorological Tower

# Station Photos

The following photos show the monitoring station and instrumentation.

Figure 11 – Photo showing the inlet and sample manifold

Figure 12 – Curb shot of the monitoring station

Figure 13 –Photo of the front and the back of instrument rack

Figure 14 – Windrose (2021 – 2025)