Wood Buffalo Environmental Association

Ambient Air Monitoring Station

Site Documentation

# Lower Camp

LAST UPDATED: March 10, 2026

Table of Contents

General Site Information	4

Station	4

Location	4

Owner/Operator/Approval Holder	4

Site Description	4

Site Influences	5

Localized Sources (within 20 metres of station)	5

Roadway Influences	5

Major Point Sources	5

Station Equipment	6

Analytical Equipment	6

Meteorological Equipment	6

Support Equipment	6

Site photos	11

Station Photos	16

Tables and Figures

Figure 1 – Area topographic map showing AMS 11	7

Figure 2 – Aerial image showing AMS 11	8

Figure 3 – Plan view image for AMS 11 site	9

Figure 4 – Elevation view image for AMS 11 site	10

Figure 5 – Environment looking North	11

Figure 6 – Environment looking East	12

Figure 7 – Environment looking South	13

Figure 8 – Environment looking West	14

Figure 9 – Meteorological Tower	15

Figure 10 – Photo showing the inlet and sample manifold	16

Figure 11 – Curb shot of the monitoring station	17

Figure 12 –Photo of the front and the back of instrument rack	18

Figure 13 – Windrose (2021-2025)	19

# General Site Information

## Station

| Station ID | AMS 11 |
| --- | --- |
| Station name | Lower Camp |
| Date station established | 1975 |

## Location

| Station street address | Located by the Athabasca River Valley at about 115 meters south of the Syncrude pump house |
| --- | --- |
| Legal land description | 11-35-092-10 W4 |
| Airshed Zone | Wood Buffalo Environmental Association |
| Latitude | 57.0267916667 |
| Longitude | -111.500819444 |
| UTM East | 469597.806 |
| UTM North | 6320474.662 |
| Nearest community | Fort McMurray |
| Community population | 107,740 |
| Census Year | 2025 |

## Owner/Operator/Approval Holder

| Operating Agency | Wood Buffalo Environmental Association |
| --- | --- |
| Address of Operating Agency | Unit 3, 805 Memorial Drive, Fort McMurray, Alberta T9K 0K4 |
| Name of Approval Holder | Suncor Energy Inc. |
| Approval number | 094-03-00 |
| Contact Name | Brooke Bennett |
| Address | Base Plant Rd, Wood Buffalo, AB |
| Phone number | 780-790-5692 |
| Email address | brobennett@suncor.com |

## Site Description

| Land use by sector | 0 – 90 degrees | Syncrude open mining operations |
| --- | --- | --- |
|  | 91 – 180 degrees | Athabasca River |
|  | 181 – 270 degrees | Athabasca River |
|  | 271 – 360 degrees | Syncrude open mining operations |
| Site elevation (m) (above sea level) | 238 meters |  |
| Angle of elevation to nearby buildings | Greatest angle | 0 |
|  | Building direction | North |
| Airflow restrictions | North | Pump House |
|  | East | None |
|  | South | None |
|  | West | None |
| Distance to nearest trees (m) | North | 42 |
|  | East | 12 |
|  | West | 12 |
|  | South | 20 |
| Sample manifold | Type | All glass |
|  | Inlet height above roof | 1 meter |
| Meteorological Sensors | Type | Cup and vane |
|  | Height above ground (m) | 10 |
|  | Distance from station (m) | attached |

# Site Influences

## Localized Sources (within 20 metres of station)

| Type | Distance (m) | Description |
| --- | --- | --- |
| Laydown | 79.21 | Equipment Laydown |
| Water Pond | 136.8 | Reservoir |
| Athabasca River | 33.8 | River |
| Pumping Station | 114 | Syncrude Water Pump Station |

## Roadway Influences

| Type | Traffic Volume | Distance (m) | Description |
| --- | --- | --- | --- |
| Gravel road | Low | 20 | Road access to lay down and pumping station |

## Major Point Sources

| Facility Name | Source Type | Production Capacity | Distance from site (km) | Compass direction from site |
| --- | --- | --- | --- | --- |
| Suncor Energy | Oil refinery | 330,000 bbl/day | 2 | South |
| Syncrude | Oil refinery/open mining | 225,000 bbl/day | 3 | West |
| Suncor Energy | Open mining operations | NA | 4 | East |

# Station Equipment

Equipment Owner: Suncor

## Analytical Equipment

| Parameter | Make | Model | Serial Number | Date Installed |
| --- | --- | --- | --- | --- |
| SO2 | Thermo Scientific | 43i | 100841398 | 2015 |
| H2S | Thermo Scientific | 43iq | 1203169745 | 2015 |
| NMHC | Thermo Scientific | 55i | 1152430012 | 2019 |
| PWD | Vaisala | PWD22 | H5030008 | 2013 |

## Meteorological Equipment

| Parameter | Make | Model | Serial Number | WMO Site Class | Date Installed |
| --- | --- | --- | --- | --- | --- |
| AT/RH | Vaisala | HMP155 | G0840086 | 4 | 2022 |
| WS | Met One | 010C-1 | N11710 | 4 | 2017 |
| WD | Met One | 020C-1 | N12035 | 4 | 2022 |
| BP | Vaisala | CS106 | T2210938 | 4 | 2022 |
| PWD | Vaisala | PWD22 | H5030008 | 4 | 2015 |

## Support Equipment

| Name | Description | Make | Model | Serial Number |
| --- | --- | --- | --- | --- |
| Datalogger | Datalogger | Campbell Scientific | CR3000 | 2403 |
| Gas Dilution Calibrator | Dynamic dilution calibrator | Teledyne/API | T700 | 3811 |
| Zero air generator | Zero Air Generator | Teledyne/API | 701 | 4428 |
| Shelter / Building | Air monitoring portable | ITB | 8 x 16 trailer | 11447 |

Figure 1 – Area topographic map showing AMS 11.

Figure 2.0 – Aerial image showing AMS 11.

Figure 3.0 – Plan view image for AMS 11 site.

Figure 4.0 – Elevation view image for AMS 11 site.

# Site photos

The following photos show the environment surrounding the monitoring station.

Figure 5.0 – Environment looking North.

Figure 6 – Environment looking East.

Figure 7 – Environment looking South.

Figure 8– Environment looking West.

Figure 9 – Meteorological Tower

# Station Photos

The following photos show the monitoring station and instrumentation.

Figure 10 – Photo showing the inlet and sample manifold.

Figure 11 – Curb shot of the monitoring station.

Figure 12 –Photo of the front and the back of instrument rack.

Figure 13 – Windrose (2021-2025).