Wood Buffalo Environmental Association

Ambient Air Monitoring Station

Site Documentation

# Wapasu

LAST UPDATED: February 18, 2026

Table of Contents

General Site Information	4

Station	4

Location	4

Owner/Operator/Approval Holder	4

Site Description	4

Site Influences	5

Localized Sources (within 20 metres of station)	5

Roadway Influences	5

Major Point Sources	5

Station Equipment	6

Analytical Equipment	6

Meteorological Equipment	6

Support Equipment	6

Site photos	11

Station Photos	16

Tables and Figures

Figure 1 – Area topographic map showing AMS 17	7

Figure 2 – Aerial photo showing AMS 17	8

Figure 3 – Plan view sketch for AMS 17 site	9

Figure 4 – Elevation view sketch for AMS 17 site	10

Figure 5 – Environment looking North	11

Figure 6 – Environment looking East	12

Figure 7 – Environment looking South	13

Figure 8 – Environment looking West	14

Figure 9 – Meteorological Tower	15

Figure 10 – Photo showing the inlet and sample manifold	16

Figure 11 – Curb shot of the monitoring station	17

Figure 12 –Photo of the front and the back of instrument rack	18

Figure 13 – Windrose (2021-2025)	19

# General Site Information

Revision Date: March 28, 2024

## Station

| Station ID | AMS 17 |
| --- | --- |
| Station name | Wapasu |
| Date station established | November, 2013 |

## Location

| Station street address | Located northeast of Husky Sunrise. |
| --- | --- |
| Legal land description | 9-22-095-07 W4 |
| Airshed Zone | Wood Buffalo Environmental Association |
| Latitude | 57.25913818 |
| Longitude | -111.0385386 |
| UTM East | 497672 |
| UTM North | 6346240 |
| Nearest community | Fort Mackay |
| Community population | 757 |
| Census Year | 2021 |

## Owner/Operator/Approval Holder

| Operating Agency | Wood Buffalo Environmental Association |
| --- | --- |
| Address of Operating Agency | Unit 3-805 Memorial Drive, Fort McMurray, Alberta T9K 0K4 |
| Name of Approval Holder | Cenovus |
| Approval number | 206355-01-00 |
| Contact Name | Rene Morales |
| Address | N/A |
| Phone number | 403-816-6144 |
| Email address | Rene.morales@cenovus.com |

## Site Description

| Land use by sector | 0 – 90 degrees | Decommissioned well pad |
| --- | --- | --- |
|  | 91 – 180 degrees | Wooded area |
|  | 181 – 270 degrees | Wooded area |
|  | 271 – 360 degrees | Site access road |
| Site elevation (m) (above sea level) | 491 |  |
| Angle of elevation to nearby buildings | Greatest angle | N/A |
|  | Building direction | N/A |
| Airflow restrictions | North | No |
|  | East | No |
|  | South | No |
|  | West | No |
| Distance to nearest trees (m) | North | 45 m |
|  | East | 45 m |
|  | West | 80 m |
|  | South | 45 m |
| Sample manifold | Type | All glass |
|  | Inlet height above roof | 1 metre |
| Wind Sensors | Type | Cup and vane |
|  | Height above ground (m) | 10 m |
|  | Distance from station (m) | 0 m |

# Site Influences

## Localized Sources (within 20 metres of station)

| Type | Distance (m) | Description |
| --- | --- | --- |
| None | N/A | N/A |

## Roadway Influences

| Type | Traffic Volume | Distance (m) | Description |
| --- | --- | --- | --- |
| Access road | Low | 5 | Gravel access road used by pickup trucks. |
| Canterra Main Road | High | 1500 | Heavily trafficked gravel road frequented by heavy equipment, tractor trailers, and pickup trucks. |

## Major Point Sources

| Facility Name | Source Type | Distance from site (km) | Compass direction from site |
| --- | --- | --- | --- |
| Suncor Firebag | Oilsands Operation | 10 | SE |
| Cenovus Sunrise | Oilsands Operation | 2 | SW |

# Station Equipment

Equipment Owner:

## Analytical Equipment

| Parameter | Make | Model | Serial Number | Date Instrument Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- |
| Continuous |  |  |  |  |  |
| SO2 | Thermo Environmental | 43i | 1218153459 | March, 2016 | December, 2013 |
| H2S | Thermo Environmental | 43i-TLE | 12228021057 | February 2026 | December, 2013 |
|  | Global H2S Converter |  | 2022-219 | February 2026 |  |
| NO/NOx/NO2 | Thermo Environmental | 42iQ | 12300522720 | June, 2023 | December, 2013 |
| THC | Thermo Environmental | 51i | 1218153352 | March, 2016 | December, 2013 |
| O3 | Teledyne/API | T400 | 3870 | March, 2016 | January, 2014 |
| PM2.5 | Teledyne/API | T640 | 1183 | March, 2016 | December, 2013 |
| Time-Integrated |  |  |  |  |  |
| ECOC | Thermo Environmental | 2000i | 20001204511404 | March, 2016 | - |
| PC | N-CON | 00-120-2 | 60198 | March, 2016 | - |

## Meteorological Equipment

| Parameter | Make | Model | Serial Number | WMO Site Class | Date Sensor Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- | --- |
| AT/RH | Vaisala | HMP155 | G4330041 | 3 | September, 2021 | December, 2013 |
| WS | Met One | 010C-1 | N14664 | 3 | May, 2018 | December, 2013 |
| WD | Met One | 020C-1 | P19942 | 3 | May, 2018 | December, 2013 |
| PC | OTT | Pluvio 2 | 31209514 | 3 | March, 2016 | December, 2015 |

## Support Equipment

| Name | Description | Make | Model | Serial Number |
| --- | --- | --- | --- | --- |
| Datalogger | Datalogger | Campbell Scientific | CR3000 | 2663 |
| Datalogger | Datalogger | Campbell Scientific | CR310 | 6009 |
| Gas Dilution Calibrator | Dynamic dilution calibrator | Teledyne/API | T700 | 2449 |
| Zero air generator | Zero Air Generator | Teledyne/API | 701H | 359 |
| Shelter / Building | Air monitoring portable | ITB | 8 x 16 trailer | ITB12-15686 |
| HVAC | Heating and air conditioning system. Wall mount unit | BARD | 1 ton | NA |

Figure 1 – Area topographic map showing AMS 17

Figure 2 – Aerial photo showing AMS 17

Figure 3 – Plan view sketch for AMS 17 site

Figure 4 – Elevation view sketch for AMS 17 site

# Site photos

The following photos show the environment surrounding the monitoring station.

Figure 5 – Environment looking North

Figure 6 – Environment looking East

Figure 7 – Environment looking South

Figure 8 – Environment looking West

Figure 9 – Meteorological Tower

# Station Photos

The following photos show the monitoring station and instrumentation.

Figure 10 – Photo showing the inlet and sample manifold

Figure 11 – Curb shot of the monitoring station

Figure 12 –Photo of the front and the back of instrument rack

Figure 13 – Windrose (2021-2025)