Wood Buffalo Environmental Association

Ambient Air Monitoring Station

Site Documentation

# Stony Mountain

LAST UPDATED: February 18, 2026

Table of Contents

General Site Information	4

Station	4

Location	4

Owner/Operator/Approval Holder	4

Site Description	4

Site Influences	5

Localized Sources (within 20 metres of station)	5

Roadway Influences	5

Major Point Sources	5

Station Equipment	6

Analytical Equipment	6

Meteorological Equipment	6

Support Equipment	6

Site photos	12

Station Photos	17

Tables and Figures

Figure 1 – Area topographic map showing AMS 18	7

Figure 2 – Aerial photo showing AMS 18	8

Figure 3 – Plan view sketch for AMS 18 site	9

Figure 4 – Elevation view sketch for AMS 18 site	10

Figure 5 – Environment looking North	11

Figure 6 – Environment looking East	12

Figure 7 – Environment looking South	13

Figure 8 – Environment looking West	14

Figure 9 – Meteorological Tower	15

Figure 10 – Photo showing the inlet and sample manifold	16

Figure 11 – Curb shot of the monitoring station	17

Figure 12 –Photo of the front and the back of instrument rack	18

Figure 13 – Windrose 20m (2021-2025)	19

# General Site Information

Revision Date: March 28, 2024

## Station

| Station ID | AMS 18 |
| --- | --- |
| Station name | Stony Mountain |
| Date station established | June 2015 |

## Location

| Station street address | NA |
| --- | --- |
| Legal land description | 1-33-076-08 W4 |
| Airshed Zone | Wood Buffalo Environmental Association |
| Latitude | 55.621487 |
| Longitude | -111.172798 |
| UTM East | 489125 |
| UTM North | 6163958 |
| Nearest community | Conklin |
| Community population | 229 |
| Census Year | 2018 |

## Owner/Operator/Approval Holder

| Operating Agency | Wood Buffalo Environmental Association |
| --- | --- |
| Address of Operating Agency | Unit 3-805 Memorial Drive, Fort McMurray, Alberta T9K 0K4 |
| Name of Approval Holder | NA |
| Approval number | NA |
| Contact Name | Wood Buffalo Environmental Association |
| Address | Unit 3-805 Memorial Drive, Fort McMurray, Alberta, T9K 0K4 |
| Phone number | 780-799-4420 |
| Email address | info@wbea.org |

## Site Description

| Land use by sector | 0 – 90 degrees | Trees |
| --- | --- | --- |
|  | 91 – 180 degrees | Trees |
|  | 181 – 270 degrees | Trees |
|  | 271 – 360 degrees | Fire tower, trees |
| Site elevation (m) (above sea level) | 673 |  |
| Angle of elevation to nearby buildings | Greatest angle | 0 |
|  | Building direction | NA |
| Airflow restrictions | North | None |
|  | East | None |
|  | South | None |
|  | West | None |
| Distance to nearest trees (m) | North | 30 |
|  | East | 30 |
|  | West | 30 |
|  | South | 30 |
| Sample manifold | Type | All glass |
|  | Inlet height above roof | 1 metre |
| Wind Sensors | Type | Cup and vane |
|  | Height above ground (m) | 20 |
|  | Distance from station (m) | 2 |

# Site Influences

## Localized Sources (within 20 metres of station)

| Type | Distance (m) | Description |
| --- | --- | --- |
| Fire watch tower | 100 m NW of Station | Fire lookout tower, operated by the province of Alberta |
| Communication Tower | 30 m E of Station | Cell tower |

## Roadway Influences

| Type | Traffic Volume | Distance (m) | Description |
| --- | --- | --- | --- |
| Access road | Low | 10 | Dirt/sand road |

## Major Point Sources

| Facility Name | Source Type | Distance from site (km) | Compass direction from site |
| --- | --- | --- | --- |
| Cenovus | SAGD | 12.26 | SE |
| CNRL | SAGD | 15 | SE |

# Station Equipment

Equipment Owner:

## Analytical Equipment

| Parameter | Make | Model | Serial Number | Date Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- |
| SO2 | Thermo Environmental | 43i | JC1501301453 | 2015 | 2015 |
| TRS | Thermo Environmental | 43i – TLE | 1218153359 | 2021 | 2015 |
| NO2 | Thermo Environmental | 42i | 1501663731 | 2025 | 2015 |
| NMHC | Thermo Environmental | 55i | 1193585647 | 2024-01-31 | 2015 |
| O3 | Teledyne API | T400 | 825 | 2019 | 2015 |
| CO | Teledyne API | T300 | 3504 | 2021 | 2021 |
| CO2 | Teledyne API | T360 | 489 | 2023-09-29 | 2023 |
| PM 2.5 | Teledyne API | T640 | 324 | 2024 | 2015 |
| BC | Magee Scientific | AE-33 | 327 | 2022 | 2015 |
| PC | N-CON Systems | 00-120-2 | 60140 | 2018 | 2015 |
| EC/OC | Thermo Environmental | 2000i-A-N | 2000IW 20691 1702 | 2018 | 2015 |

## Meteorological Equipment

| Parameter | Make | Model | Serial Number | WMO Site Class | Date Sensor Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- | --- |
| AT/RH | Vaisala | HMP155 | G0840106 | 3 | 2018 | August, 2015 |
| WS | Met One | 010C-1 | A1406 | 4 | 2022 | August, 2015 |
| WD | Met One | 020C-1 | NA | 4 | 2022 | August, 2015 |
| PC | OTT | OTT Pluvio-2 | 363526 | 3 | 2016 | December, 2015 |
| LW | Decagon Devices | LWS-L | NA | N/A | 2022 | October, 2015 |
| GR | Epply | 8-48 Solar Rad | 38007 | N/A | 2021 | August, 2015 |

## Support Equipment

| Name | Description | Make | Model | Serial Number |
| --- | --- | --- | --- | --- |
| Datalogger | Datalogger | Campbell Scientific | CR3000 | 12345 |
| Gas Dilution Calibrator | Dynamic dilution calibrator | Teledyne/API | T700 | 12345 |
| Zero air generator | Zero Air Generator | Teledyne/API | 701 | 12345 |
| Shelter / Building | Air monitoring portable | ITB | 8 x 16 trailer | 12345 |
| HVAC | Heating and air conditioning system. Wall mount unit | BARD | 1 ton | 12345 |

Figure 1 – Area topographic map showing AMS 18

Figure 2 – Aerial photo showing AMS 18

Figure 3 – Plan view sketch for AMS 18 site

Figure 4 – Elevation view sketch for AMS 18 site

# Site photos

The following photos show the environment surrounding the monitoring station.

Figure 5 – Environment looking North

Figure 6 – Environment looking East

Figure 7 – Environment looking South

Figure 8 – Environment looking West

Figure 9 – Meteorological Tower

# Station Photos

The following photos show the monitoring station and instrumentation.

Figure 10 – Photo showing the inlet and sample manifold

Figure 11 – Curb shot of the monitoring station

Figure 12 –Photo of the front and the back of instrument rack

Figure 13 – Windrose 20m (2021-2025)