Wood Buffalo Environmental Association

Ambient Air Monitoring Station

Site Documentation

# Mackay River

LAST UPDATED: February 18, 2026

Table of Contents

General Site Information	4

Station	4

Location	4

Owner/Operator/Approval Holder	4

Site Description	4

Site Influences	5

Localized Sources (within 20 metres of station)	5

Roadway Influences	5

Major Point Sources	5

Station Equipment	6

Analytical Equipment	6

Meteorological Equipment	6

Support Equipment	6

Site photos	11

Station Photos	16

Tables and Figures

Figure 1 – Area topographic map showing AMS 20	7

Figure 2 – Aerial image showing AMS 20	8

Figure 3 – Plan view image for AMS 20 site	9

Figure 4 – Elevation view image for AMS 20 site	10

Figure 5 – Environment looking North	11

Figure 6 – Environment looking East	12

Figure 7 – Environment looking South	13

Figure 8 – Environment looking West	14

Figure 9 – Meteorological Tower	15

Figure 10 – Photo showing the inlet and sample manifold	16

Figure 11 – Curb shot of the monitoring station	17

Figure 12 –Photo of the front and the back of instrument rack	18

Figure 13 – Windrose (2020-2025)	19

# General Site Information

Revision Date: March 28, 2024

## Station

| Station ID | AMS 20 |
| --- | --- |
| Station name | Mackay River |
| Date station established | January 7, 2016 |

## Location

| Station street address | NA |
| --- | --- |
| Legal land description | 10-01-090-14 W4 |
| Airshed Zone | Wood Buffalo Environmental Association |
| Latitude | 56.7797279768 |
| Longitude | -112.0890203 |
| UTM East | 433455.57 |
| UTM North | 6293395.78 |
| Nearest community | Fort McMurray |
| Community population | 75186 |
| Census Year | 2021 |

## Owner/Operator/Approval Holder

| Operating Agency | Wood Buffalo Environmental Association |
| --- | --- |
| Address of Operating Agency | Unit 3, 805 Memorial Drive, Fort McMurray, Alberta T9K 0K4 |
| Name of Approval Holder | PetroChina Canada Ltd. |
| Approval number | 254465-01-00 |
| Contact Name | Blakney Hopkins |
| Address | NA |
| Phone number | 403-880-1836 |
| Email address | Blakney.hopkins@petrochinacanada.com |

## Site Description

| Land use by sector | 0 – 90 degrees | Forest and SAGD project |
| --- | --- | --- |
|  | 91 – 180 degrees | Forest and SAGD project |
|  | 181 – 270 degrees | Forest |
|  | 271 – 360 degrees | Forest |
| Site elevation (m) (above sea level) | 498 |  |
| Angle of elevation to nearby buildings | Greatest angle | 0 degree |
|  | Building direction | None |
| Airflow restrictions | North | None |
|  | East | None |
|  | South | None |
|  | West | Yes |
| Distance to nearest trees (m) | North | 30 |
|  | East | 20 |
|  | West | 30 |
|  | South | 50 |
| Sample manifold | Type | All glass |
|  | Inlet height above roof | 1 metre |
| Wind Sensors | Type | Cup and vane |
|  | Height above ground (m) | 10 |
|  | Distance from station (m) | Attached to the North end of the station |

# Site Influences

## Localized Sources (within 20 metres of station)

| Type | Distance (m) | Description |
| --- | --- | --- |
| None | n/a | n/a |

## Roadway Influences

| Type | Traffic Volume | Distance (m) | Description |
| --- | --- | --- | --- |
| Gravel Road | Low | 30 | Access Road |

## Major Point Sources

| Facility Name | Source Type | Distance from site (km) | Compass direction from site |
| --- | --- | --- | --- |
| PetroChina Canada Ltd. | Oil and Gas industry | 5 | North |

# Station Equipment

Equipment Owner: PetroChina

## Analytical Equipment

| Parameter | Make | Model | Serial Number | Date Instrument Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- |
| SO2 | Thermo Scientific | 43i | 1501301450 | March, 2016 | February, 2016 |
| H2S | Thermo Scientific | 43i-LTE | 1236656117 | 2023 | February, 2016 |
| NO/NOx/NO2 | Thermo Scientific | 42i | 1505164379 | November, 2018 | February, 2016 |
| THC | Thermo Scientific | 51i | 1501663727 | March, 2016 | February, 2016 |

## Meteorological Equipment

| Parameter | Make | Model | Serial Number | WMO Site Class | Date Sensor Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- | --- |
| AT/RH | Vaisala | HMP155 | F5010002 | 3 | September, 2018 | February, 2016 |
| WS | Met One | 010C-1 | P19838 | 3 | June, 2025 | January, 2016 |
| WD | Met One | 020C-1 | N9937 | 3 | March, 2016 | January, 2016 |
| PC | OTT | OTT-Pluvio2 | 363524 | 3 | May, 2016 | December, 2016 |

## Support Equipment

| Name | Description | Make | Model | Serial Number |
| --- | --- | --- | --- | --- |
| Datalogger | Datalogger | Campbell Scientific | CR3000 | 9627 |
| Gas Dilution Calibrator | Dynamic dilution calibrator | Teledyne/API | T700 | 1220 |
| Zero air generator | Zero Air Generator | Teledyne/API | 701 | 4522 |
| Shelter / Building | Air monitoring portable | ITB | 8 x 16 trailer | ITB-15-16552 |
| Meteorological Tower | Telescoping 10 metre tower | Aluma Tower Co. | T-135 | AT-215036-AA-5-2 |
| Datalogger | Datalogger | Campbell Scientific | CR310 | 6239 |
| H2S Converter | Thermal Oxidizer | Global Analyzer Systems | G150 | 2022-226 |

Figure 1 – Area topographic map showing AMS 20

Figure 2 – Aerial image showing AMS 20

Figure 3 – Plan view image for AMS 20 site

Figure 4 – Elevation view image for AMS 20 site

# Site photos

The following photos show the environment surrounding the monitoring station.

Figure 5 – Environment looking North

Figure 6 – Environment looking East

Figure 7 – Environment looking South

Figure 8 – Environment looking West

Figure 9 – Meteorological Tower

# Station Photos

The following photos show the monitoring station and instrumentation.

Figure 10 – Photo showing the inlet and sample manifold

Figure 11 – Curb shot of the monitoring station

Figure 12 –Photo of the front and the back of instrument rack

Figure 13 – Windrose (2020-2025)