Wood Buffalo Environmental Association

Ambient Air Monitoring Station

Site Documentation

# Waskōw ohci Pimâtisiwin

LAST UPDATED: February 18,2026

Table of Contents

General Site Information	4

Station	4

Location	4

Owner/Operator/Approval Holder	4

Site Description	4

Site Influences	5

Localized Sources (within 20 metres of station)	5

Roadway Influences	5

Major Point Sources	5

Station Equipment	6

Analytical Equipment	6

Meteorological Equipment	6

Support Equipment	6

Site photos	11

Station Photos	16

Tables and Figures

Figure 1 – Area topographic map showing AMS 25	7

Figure 2 – Aerial image showing AMS 25	8

Figure 3 – Plan view image for AMS 25 site	9

Figure 4 – Elevation view image for AMS 25 site	10

Figure 5 – Environment looking North	11

Figure 6 – Environment looking East	12

Figure 7 – Environment looking South	13

Figure 8 – Environment looking West	14

Figure 9 – Meteorological Tower	15

Figure 10 – Photo showing the inlet and sample manifold	16

Figure 11 – Curb shot of the monitoring station	17

Figure 12 –Photo of the front of instrument rack	18

Figure 13 – Windrose (2020-2025)	19

# General Site Information

Revision Date: March 28, 2024

## Station

| Station ID | AMS 25 |
| --- | --- |
| Station name | Waskōw ohci Pimâtisiwin |
| Date station established | July 2017 |

## Location

| Station street address | Environment and Climate Change Canada Oski Otin compound |
| --- | --- |
| Legal land description | 5-25-94-11 W4 |
| Airshed Zone | Wood Buffalo Environmental Association |
| Latitude | 57°11’1.21” N |
| Longitude | 111°38’21.94” W |
| UTM East | 461350.886 |
| UTM North | 6337994.691 |
| Nearest community | Fort Mackay |
| Community population | 742 |
| Census Year | 2016 |

## Owner/Operator/Approval Holder

| Operating Agency | Wood Buffalo Environmental Association |
| --- | --- |
| Address of Operating Agency | Unit 3-805 Memorial Drive, Fort McMurray, Alberta T9K 0K4 |
| Name of Approval Holder | N/A |
| Approval number | N/A |
| Contact Name | Wood Buffalo Environmental Association |
| Address | Unit 3-805 Memorial Drive, Fort McMurray, Alberta T9K 0K4 |
| Phone number | 780-799-4420 |
| Email address | info@wbea.org |

## Site Description

| Land use by sector | 0 – 90 degrees | Wooded Area |
| --- | --- | --- |
|  | 91 – 180 degrees | Wooded Area |
|  | 181 – 270 degrees | Oski-otin Compound |
|  | 271 – 360 degrees | Oski-otin Compound, gravel access road |
| Site elevation (m) (above sea level) | 261.6 m |  |
| Angle of elevation to nearby buildings | Greatest angle | N/A |
|  | Building direction | N/A |
| Airflow restrictions | North | None |
|  | East | None |
|  | South | None |
|  | West | House |
| Sample manifold | Type | All glass |
|  | Inlet height above roof | 1 metre |
| Meteorological Sensors | Type | Cup and vane |
|  | Height above ground (m) | 10 m |
|  | Distance from station (m) | 0 m |

# Site Influences

## Localized Sources (within 20 metres of station)

| Type | Distance (m) | Description |
| --- | --- | --- |
| None | n/a | n/a |

## Roadway Influences

| Type | Traffic Volume | Distance (m) | Description |
| --- | --- | --- | --- |
| Main roadway | Low | 30 | Main roadway used by residential vehicles |

## Major Point Sources

| Facility Name | Source Type | Distance from site (km) | Compass direction from site |
| --- | --- | --- | --- |
| CNRL Albian | Oil Sands Plant | 10 | Northeast |
| Syncrude | Oil Sands Plant | 15 | South |
| CNRL Horizon | Oil Sands Plant | 20 | Northwest |

# Station Equipment

Equipment Owner: WBEA

## Analytical Equipment

| Parameter | Make | Model | Serial Number | Date Instrument Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- |
| SO2 | Thermo Scientific | 43i | 1118148497 | 2017 | August, 2017 |
| H2S | Thermo Scientific | 43i-LTE | 1170050146 | 2019 | August, 2017 |
| H2S | Global Analyzer Systems | G150 | 2024-287 | 2025 | August, 2017 |

## Meteorological Equipment

| Parameter | Make | Model | Serial Number | WMO Site Class | Date Instrument Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- | --- |
| AT/RH | Vaisala | HMP155 | P3640812 | 2 | - | August, 2017 |
| WS | Met One | 010C-1 | G3211 | 3 | 2025 | August, 2017 |
| WD | Met One | 020C-1 | U11345 | 3 | - | August, 2017 |

## Support Equipment

| Name | Description | Make | Model | Serial Number |
| --- | --- | --- | --- | --- |
| Datalogger | Datalogger | Campbell Scientific | CR3000 | 2632 |
| Datalogger | Datalogger | Campbell Scientific | CR1000 | 62004 |
| Gas Dilution Calibrator | Dynamic dilution calibrator | Teledyne/API | T700 | 747 |
| Zero air generator | Zero Air Generator | Teledyne/API | M701 | 4765 |
| Shelter / Building | Air monitoring portable | ITB | 8 x 16 trailer | ITB-15-16517 |
| HVAC | Heating and air conditioning system. Wall mount unit | BARD | 1 ton | - |

Figure 1 – Area topographic map showing AMS 25

Figure 2 – Aerial image showing AMS 25

Figure 3 – Plan view image for AMS 25 site

Figure 4 – Elevation view image for AMS 25 site

# Site photos

The following photos show the environment surrounding the monitoring station.

Figure 5 – Environment looking North

Figure 6 – Environment looking East

Figure 7 – Environment looking South

Figure 8 – Environment looking West

Figure 9 – Meteorological Tower

# Station Photos

The following photos show the monitoring station and instrumentation.

Figure 10 – Photo showing the inlet and sample manifold

Figure 11 – Curb shot of the monitoring station

Figure 12 –Photo of the front of instrument rack

Figure 13 – Windrose (2020-2025)