Wood Buffalo Environmental Association

Ambient Air Monitoring Station

Site Documentation

# Surmont 2

LAST UPDATED: March 2, 2026

Table of Contents

General Site Information	4

Station	4

Location	4

Owner/Operator/Approval Holder	4

Site Description	4

Site Influences	5

Localized Sources (within 20 metres of station)	5

Roadway Influences	5

Major Point Sources	5

Station Equipment	6

Analytical Equipment	6

Meteorological Equipment	6

Support Equipment	6

Site photos	11

Station Photos	16

Tables and Figures

Figure 1 – Area topographic map showing AMS 29	7

Figure 2 – Aerial photo showing AMS 29	8

Figure 3 – Plan view sketch for AMS 29 site	9

Figure 4 – Elevation view image for AMS 29 site	10

Figure 5 – Environment looking North	11

Figure 6 – Environment looking East	12

Figure 7 – Environment looking South	13

Figure 8 – Environment looking West	14

Figure 9 – Meteorological Tower	15

Figure 10 – Photo showing the inlet and sample manifold	16

Figure 11 – Curb shot of the monitoring station	17

Figure 12 –Photo of the front and the back of instrument rack	18

Figure 13 –Photo of the T640 Analyzer	19

Figure 14 – Windrose (2021 – 2025)	20

# General Site Information

Revision Date: March 2, 2026

## Station

| Station ID | AMS 29 |
| --- | --- |
| Station name | Surmont 2 |
| Date station established | 2019 |

## Location

| Station street address | NA |
| --- | --- |
| Legal land description | 10-20-83-6-W4 |
| Airshed Zone | Wood Buffalo Environmental Association |
| Latitude | 56.2124224862 |
| Longitude | -110.914925019 |
| UTM East | 505285 |
| UTM North | 6229755 |
| Nearest community | Anzac |
| Community population | 659 |
| Census Year | 2025 |

## Owner/Operator/Approval Holder

| Operating Agency | Wood Buffalo Environmental Association |
| --- | --- |
| Address of Operating Agency | Unit 3, 805 Memorial Drive, Fort McMurray, Alberta T9K 0K4 |
| Name of Approval Holder | ConocoPhillips Canada Resources Corp. |
| Approval number | 48263-01-00 |
| Contact Name | Heather Pitt |
| Address | 401 9 Ave SW, Calgary, Alberta, T2P 3C5 |
| Phone number | 780-334-7914 |
| Email address | heather.d.pitt@conocophillips.com |

## Site Description

| Land use by sector | 0 – 90 degrees | Trees |
| --- | --- | --- |
|  | 91 – 180 degrees | Trees/shed/potable water access point |
|  | 181 – 270 degrees | Trees |
|  | 271 – 360 degrees | Trees/ laydown yard |
| Site elevation (m) (above sea level) | 550 |  |
| Angle of elevation to nearby buildings | Greatest angle | 0 |
|  | Building direction | NA |
| Airflow restrictions | North | None |
|  | East | None |
|  | South | None |
|  | West | None |
| Distance to nearest trees (m) | North | 60 m |
|  | East | 50 m |
|  | West | 100 m |
|  | South | 55 m |
| Sample manifold | Type | All glass |
|  | Inlet height above roof | 1 metre |
| Wind Sensors | Type | Cup and vane |
|  | Height above ground (m) | 10 m |
|  | Distance from station (m) | 0 |

# Site Influences

## Localized Sources (within 20 metres of station)

| Type | Distance (m) | Description |
| --- | --- | --- |
| Vehicles | 20 m NW | Moving vehicles around station |

## Roadway Influences

| Type | Traffic Volume | Distance (m) | Description |
| --- | --- | --- | --- |
| Dirt/gravel road | low | 20 | Used by site personnel for accessing various sections around plant. |

## Major Point Sources

| Facility Name | Source Type | Distance from site (km) | Compass direction from site |
| --- | --- | --- | --- |
| ConocoPhillips | SAGD | 0.36 km | NW |

# Station Equipment

Equipment Owner: ConocoPhillips

## Analytical Equipment

| Parameter | Make | Model | Serial Number | Date Instrument Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- |
| SO2 | Thermo Environmental | 43i | 1170050150 | 2016 | April, 2019 |
| H2S | Thermo Environmental | 43iQTL | 1200326170 | 2023 | April, 2019 |
| NO/NOx/NO2 | Thermo Environmental | 42i | 1410661329 | 2016 | April, 2019 |
| THC | Thermo Environmental | 51i | 1180540021 | 2021 | April, 2019 |
| PM 2.5 | Teledyne/API | T640 | 2236 | 2025 | April, 2019 |

## Meteorological Equipment

| Parameter | Make | Model | Serial Number | WMO Site Class | Date Sensor Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- | --- |
| AT/RH | Vaisala | HMP155 | R2710618 | 3 | 2016 | April, 2019 |
| WS | Met One | 010C-1 | B4129 | 2 | 2025 | April, 2019 |
| WD | Met One | 020C-1 | U11347 | 2 | 2023 | April, 2019 |

## Support Equipment

| Name | Description | Make | Model | Serial Number |
| --- | --- | --- | --- | --- |
| Datalogger | Datalogger | Campbell Scientific | CR3000 | 9037 |
| Gas Dilution Calibrator | Dynamic dilution calibrator | Teledyne/API | T700 | 5472 |
| Zero air generator | Zero Air Generator | Teledyne/API | 701 | 135 |
| Shelter / Building | Air monitoring portable | ITB | 8 x 16 trailer | ITB-17-17154 |
| HVAC | Heating and air conditioning system. Wall mount unit | BARD | 1 ton | NA |
| Tower | 10m Tower | Aluma | T-135 | AT21403Z32 |
| H2S converter | H2S Converter | Global Analyzer Systems | G150 | 2022-220 |

Figure 1 – Area topographic map showing AMS 29

Figure 2 – Aerial photo showing AMS 29

Figure 3 – Plan view sketch for AMS 29 site

Figure 4 – Elevation view image for AMS 29 site

# Site photos

The following photos show the environment surrounding the monitoring station.

Figure 5 – Environment looking North

Figure 6 – Environment looking East

Figure 7 – Environment looking South

Figure 8 – Environment looking West

Figure 9 – Meteorological Tower

# Station Photos

The following photos show the monitoring station and instrumentation.

Figure 10 – Photo showing the inlet and sample manifold

Figure 11 – Curb shot of the monitoring station

Figure 12 –Photo of the front and the back of instrument rack

Figure 13 –Photo of the T640 Analyzer

Figure 14 – Windrose (2021 – 2025)