Wood Buffalo Environmental Association

Ambient Air Monitoring Station

Site Documentation

# Jackfish 1

LAST UPDATED: February 18, 2026

Table of Contents

General Site Information	4

Station	4

Location	4

Owner/Operator/Approval Holder	4

Site Description	4

Site Influences	5

Localized Sources (within 20 metres of station)	5

Roadway Influences	5

Major Point Sources	5

Station Equipment	6

Analytical Equipment	6

Meteorological Equipment	6

Support Equipment	6

Site photos	11

Station Photos	16

Tables and Figures

Figure 1 – Area topographic map showing AMS 506	7

Figure 2 – Aerial image showing AMS 506	8

Figure 3 – Plan view image for AMS 506 site	9

Figure 4 – Elevation view image for AMS 506 site	10

Figure 5 – Environment looking North	11

Figure 6 – Environment looking East	12

Figure 7 – Environment looking South	13

Figure 8 – Environment looking West	14

Figure 9 – Meteorological Tower	15

Figure 10 – Photo showing the inlet and sample manifold	16

Figure 11 – Curb shot of the monitoring station	17

Figure 12 –Photo of the front and the back of instrument rack	18

Figure 13 – Windrose (2021-2025)	19

# General Site Information

Revision Date: February 18, 2026

## Station

| Station ID | AMS 506 |
| --- | --- |
| Station name | Jackfish 1 |
| Date station established | Aug 16, 2018 |

## Location

| Station street address | Located SE of Jackfish construction camp |
| --- | --- |
| Legal land description | 8-28-75-6-W4 |
| Airshed Zone | Wood Buffalo Environmental Association |
| Latitude | 55.523816 |
| Longitude | -110.865345 |
| UTM East | 508503 |
| UTM North | 6153091 |
| Nearest community | Conklin |
| Community population | 154 |
| Census Year | 2021 |

## Owner/Operator/Approval Holder

| Operating Agency | Wood Buffalo Environmental Association |
| --- | --- |
| Address of Operating Agency | Unit 3-805 Memorial Drive, Fort McMurray, Alberta T9K 0K4 |
| Name of Approval Holder | Canadian Natural Resources Limited |
| Approval number | 224816-01-00 |
| Contact Name | Shawn Milligan |
| Address | 2100, 855 - 2 Street SW Calgary, Alberta, Canada T2P 4J8 |
| Phone number | 403 896-3109 |
| Email address | shawn.milligan@cnrl.com |

## Site Description

| Land use by sector | 0 – 90 degrees | SAGD Operations |
| --- | --- | --- |
|  | 91 – 180 degrees | SAGD Operations |
|  | 181 – 270 degrees | SAGD Operations |
|  | 271 – 360 degrees | SAGD Operations |
| Site elevation (m) (above sea level) | 620 |  |
| Angle of elevation to nearby buildings | Greatest angle | 0 |
|  | Building direction | NA |
| Airflow restrictions | North | Trees |
|  | East | Trees |
|  | South | Trees |
|  | West | Trees |
| Distance to nearest trees (m) | North | 100 |
|  | East | 75 |
|  | West | 40 |
|  | South | 25 |
| Sample manifold | Type | All glass |
|  | Inlet height above roof | 1 metre |
| Wind Sensors | Type | Cup and vane |
|  | Height above ground (m) | 10 |
|  | Distance from station (m) | attached |

# Site Influences

## Localized Sources (within 20 metres of station)

| Type | Distance (m) | Description |
| --- | --- | --- |
| none | n/a | n/a |

## Roadway Influences

| Type | Traffic Volume | Distance (m) | Description |
| --- | --- | --- | --- |
| Dirt/gravel | Low | 20 | Used by site workers |

## Major Point Sources

| Facility Name | Source Type | Distance from site (km) | Compass direction from site |
| --- | --- | --- | --- |
| CNRL | SAGD Plant | 400 | N |

# Station Equipment

Equipment Owner: WBEA

## Analytical Equipment

| Parameter | Make | Model | Serial Number | Date Instrument Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- |
| SO2 | Thermo Environmental | 43i | 1160290011 | 2022 | September, 2018 |
| H2S | Thermo Environmental | 43i-TLE | 1180540020 | 2023 | September, 2018 |
| NO/NOx/NO2 | Thermo Environmental | 42iQ | 12400232071 | 2025 | September, 2018 |

## Meteorological Equipment

| Parameter | Make | Model | Serial Number | WMO Site Class | Date Sensor Installed | WBEA Data Start Date |
| --- | --- | --- | --- | --- | --- | --- |
| AT/RH | Vaisala | HMP155 | N5050067 | Class 3 | 2022 | September, 2018 |
| WS | Met One | 010C-1 | Y18362 | Class 3 | 2022 | September, 2018 |
| WD | Met One | 020C-1 | R14654 | Class 3 | 2022 | September, 2018 |

## Support Equipment

| Name | Description | Make | Model | Serial Number |
| --- | --- | --- | --- | --- |
| Datalogger | Datalogger | Campbell Scientific | CR3000 | 11041 |
| Zero air generator | Zero Air Generator | Teledyne/API | 701 | 4427 |
| Shelter / Building | Air monitoring portable | ITB | 8 x 16 trailer | ITB1315940 |
| Gas Dilution Calibrator | Mass flow controlled gas dilution | Teledyne/API | T700 | 3252 |
| Tower | 10 Metre crank up | Aluma | T-135 | AT213029-Y-3-1 |
| H2S converter | H2S converter | Global Analyzer Systems | G150 | 2022-218 |

Figure 1 – Area topographic map showing AMS 506

Figure 2 – Aerial image showing AMS 506

Figure 3 – Plan view image for AMS 506 site

The elevation view is currently not available for this site.

Figure 4 – Elevation view image for AMS 506 site

# Site photos

The following photos show the environment surrounding the monitoring station.

Figure 5 – Environment looking North

Figure 6 – Environment looking East

Figure 7 – Environment looking South

Figure 8 – Environment looking West

Figure 9 – Meteorological Tower

# Station Photos

The following photos show the monitoring station and instrumentation.

Figure 10 – Photo showing the inlet and sample manifold

Figure 11 – Curb shot of the monitoring station

Figure 12 –Photo of the front and the back of instrument rack

Figure 13 – Windrose (2021-2025)