## Disclaimer
Disclaimer for use with data downloads: The Wood Buffalo Environmental Association (WBEA), an independent air quality monitoring organization, collects air quality data in the Athabasca Oil Sands Region of Alberta and provides air quality data online at wbea.org to encourage access within the scientific community to sources of current and comprehensive information. Although the data delineated on the WBEA’s site has been produced and processed from sources believed to be reliable, no warranty expressed or implied is made regarding accuracy, adequacy, completeness, legality, reliability or usefulness of any information. Due to many factors including, without limitation, corrections, calibrations and disruptions in data collection, the WBEA data is subject to change at any time and the WBEA periodically adds, changes, improves and updates the materials and information on its site without notice and is provided “as is” with no warranties neither expressed nor implied nor does the WBEA assume any liability or responsibility for the accuracy, completeness, or usefulness of any information and data published on its site. Under no circumstances shall the WBEA or any of its affiliates, directors, officers, employees, members and/or agents be liable to any data user for any damages whether indirect, direct, incidental, consequential, special or exemplary (including, but not limited to loss of use, data or profits or business interruption) however caused and on any theory of liability, whether in contract, strict liability, tort (including negligence or otherwise), or any other theory arising in any way out of the use of and/or reliance on the data. The user of this data, applying equally to both isolated and aggregate uses of the data, assumes all responsibilities on its usage and for verifying the completeness and accuracy of this data for both critical and non-critical uses and applications. The user further agrees to defend, indemnify, and hold harmless, the WBEA and its affiliates, directors, officers, employees, members and agents from and against all claims and expenses, including solicitor client fees on a full indemnity basis, arising out of the use of the data. Any users of the data are hereby required to inform the WBEA via email to info@wbea.org should the user intend to utilize the data for any publication purposes and shall include the following disclaimer in such publication: “The content and opinions expressed by the authors do not necessarily reflect the views of the WBEA, its affiliates, directors, officers, employees, agents or its membership.”

## denuder
Denuder Data Export |  |  |  |  | Please see "Disclaimer" for data use.
|  | Query Start Date, | Query End Date
| Denuder | 2016-01-01 | 2016-12-31
Title | WBEA ID | WBEA ID | WBEA ID | C of C ID | Location Name | Start Date | End Date | total sampling time | total sampling time unit | sample flow | sample flow unit | Total Volume | Tot Vol Unit | QA Flag | Data Type | Data Units | sulfate | MDL | QA Flag | nitrate | MDL | QA Flag | ammonium | MDL | QA Flag | nitric acid | MDL | QA Flag | ammonia | MDL | QA Flag
CAS Number
Sampling Method Code
Parameter Code
[5 empty] | JP104 | 01/04/16 14:26 | 01/29/16 12:15 | 31369 | min | 1.1938 | liter per min | 37.4482 | cubic meters |  | data | microgram per cubic meters | 1.3832 | 0.03 | V0 | 0.61552 | 0.02 | V0 | 0.42686 | 0.0084 | V0 | 0.33673 | 0.062187 | V0 | 0.17491 | 0.033433 | V0
[5 empty] | JP104 | 01/29/16 13:00 | 02/29/16 12:14 | 44354 | min | 1.2115 | liter per min | 53.7335 | cubic meters |  | data | microgram per cubic meters | 0.99147 | 0.03 | V0 | 0.17866 | 0.02 | V0 | 0.13558 | 0.0084 | V0 | 0.27171 | 0.062187 | V0 | 0.092866 | 0.033433 | V0
[5 empty] | JP104 | 02/29/16 13:00 | 03/30/16 10:28 | 43048 | min | 1.219 | liter per min | 52.4755 | cubic meters |  | data | microgram per cubic meters | 0.84754 | 0.03 | V0 | 0.26107 | 0.02 | V0 | 0.17742 | 0.0084 | V0 | 0.29118 | 0.062187 | V0 | 0.038875 | 0.033433 | V0
[5 empty] | JP104 | 03/30/16 11:12 | 05/02/16 11:15 | 47523 | min | 1.23 | liter per min | 58.4533 | cubic meters |  | data | microgram per cubic meters | 0.90671 | 0.03 | V0 | 0.10051 | 0.02 | V0 | 0.13977 | 0.0084 | V0 | 0.21278 | 0.062187 | V0 | 0.069476 | 0.033433 | V0
[5 empty] | JP104 | 05/02/16 11:15 | 06/15/16 15:20 | 63605 | min | 1.21 | liter per min | 76.9621 | cubic meters |  | data | microgram per cubic meters | 0.61102 | 0.03 | V0 | 0.48238 | 0.02 | V0 | 0.036317 | 0.0084 | V0 | 0.24544 | 0.062187 | V0 | 1.9658 | 0.033433 | V0
[5 empty] | JP104 | 06/15/16 15:30 | 07/06/16 12:20 | 30050 | min | 1.228 | liter per min | 36.9014 | cubic meters |  | data | microgram per cubic meters | 1.2493 | 0.03 | V0 | 0.085363 | 0.02 | V0 | 0.0059618 | 0.0084 | V1 | 0.27564 | 0.062187 | V0 | 0.2178 | 0.033433 | V0
[5 empty] | JP104 | 07/06/16 12:55 | 07/29/16 10:45 | 32990 | min | 1.222 | liter per min | 40.3138 | cubic meters |  | data | microgram per cubic meters | 0.58045 | 0.03 | V0 | 0.062014 | 0.02 | V0 | 0.024061 | 0.0084 | V0 | 0.37254 | 0.062187 | V0 | 0.22795 | 0.033433 | V0
[5 empty] | JP104 | 07/29/16 11:30 | 08/31/16 11:10 | 47500 | min | 1.226 | liter per min | 58.235 | cubic meters |  | data | microgram per cubic meters | 0.69803 | 0.03 | V0 | 0.05495 | 0.02 | V0 | 0.0076415 | 0.0084 | V1 | 0.46972 | 0.062187 | V0 | 0.28316 | 0.033433 | V0
[5 empty] | JP104 | 08/31/16 11:35 | 10/05/16 09:00 | 50245 | min | 1.158 | liter per min | 58.1837 | cubic meters |  | data | microgram per cubic meters | 0.49553 | 0.03 | V0 | 0.032879 | 0.02 | V0 | 0.056029 | 0.0084 | V0 | 0.16626 | 0.062187 | V0 | 0.23894 | 0.033433 | V0
[5 empty] | JP104 | 10/05/16 16:35 | 11/01/16 09:45 | 38470 | min | 1.188 | liter per min | 45.7024 | cubic meters |  | data | microgram per cubic meters | 0.65329 | 0.03 | V0 | 0.095356 | 0.02 | V0 | 0.10043 | 0.0084 | V0 | 0.11717 | 0.062187 | V0 | 0.10953 | 0.033433 | V0
[5 empty] | JP104 | 11/01/16 10:55 | 12/01/16 14:00 | 43385 | min | 1.21 | liter per min | 52.4959 | cubic meters |  | data | microgram per cubic meters | 0.8353 | 0.03 | V0 | 0.22335 | 0.02 | V0 | 0.21335 | 0.0084 | V0 | 0.15117 | 0.062187 | V0 | 0.18207 | 0.033433 | V0
[5 empty] | JP104 | 12/01/16 15:25 | 01/04/17 12:05 | 48760 | min | 1.214 | liter per min | 59.1946 | cubic meters |  | data | microgram per cubic meters | 0.56406 | 0.03 | V0 | 0.27055 | 0.02 | V0 | 0.20871 | 0.0084 | V0 | 0.14608 | 0.062187 | V0 | 0.026804 | 0.033433 | V1
[5 empty] | JP104c | 01/04/16 14:26 | 01/29/16 12:15 | 31369 | min | 1.1459 | liter per min | 35.9458 | cubic meters |  | data | microgram per cubic meters | 0.6461 | 0.03 | V0 | 0.32716 | 0.02 | V0 | 0.23277 | 0.0084 | V0 | 0.25566 | 0.062187 | V0 | 0.18917 | 0.033433 | V0
[5 empty] | JP104c | 01/29/16 13:00 | 02/29/16 12:14 | 44354 | min | 1.2031 | liter per min | 53.3601 | cubic meters |  | data | microgram per cubic meters | 0.57494 | 0.03 | V0 | 0.14583 | 0.02 | V0 | 0.21097 | 0.0084 | V0 | 0.2783 | 0.062187 | V0 | 0.086956 | 0.033433 | V0
[5 empty] | JP104c | 02/29/16 13:00 | 03/30/16 10:28 | 43048 | min | 1.236 | liter per min | 53.2073 | cubic meters |  | data | microgram per cubic meters | 0.5648 | 0.03 | V0 | 0.11757 | 0.02 | V0 | 0.20039 | 0.0084 | V0 | 0.24245 | 0.062187 | V0 | 0.038904 | 0.033433 | V0
[5 empty] | JP104c | 03/30/16 11:12 | 05/02/16 11:15 | 47523 | min | 1.244 | liter per min | 59.1186 | cubic meters |  | data | microgram per cubic meters | 0.5753 | 0.03 | V0 | 0.071282 | 0.02 | V0 | 0.22784 | 0.0084 | V0 | 0.26057 | 0.062187 | V0 | 0.078599 | 0.033433 | V0
[5 empty] | JP104c | 05/02/16 11:15 | 06/15/16 15:20 | 63605 | min | 1.249 | liter per min | 79.4426 | cubic meters |  | data | microgram per cubic meters | 0.30129 | 0.03 | V0 | 0.39575 | 0.02 | V0 | 0.12784 | 0.0084 | V0 | 0.22371 | 0.062187 | V0 | 1.9483 | 0.033433 | V0
[5 empty] | JP104c | 06/15/16 15:30 | 07/06/16 12:20 | 30050 | min | 1.238 | liter per min | 37.2019 | cubic meters |  | data | microgram per cubic meters | 0.3942 | 0.03 | V0 | 0.087373 | 0.02 | V0 | 0.16441 | 0.0084 | V0 | 0.2868 | 0.062187 | V0 | 0.20767 | 0.033433 | V0
[5 empty] | JP104c | 07/06/16 12:55 | 07/29/16 10:45 | 32990 | min | 1.247 | liter per min | 41.1385 | cubic meters |  | data | microgram per cubic meters | 0.52776 | 0.03 | V0 | 0.074079 | 0.02 | V0 | 0.12732 | 0.0084 | V0 | 0.29467 | 0.062187 | V0 | 0.27434 | 0.033433 | V0
[5 empty] | JP104c | 07/29/16 11:30 | 08/31/16 11:00 | 47490 | min | 1.248 | liter per min | 59.2675 | cubic meters |  | data | microgram per cubic meters | 0.48986 | 0.03 | V0 | 0.045623 | 0.02 | V0 | 0.17491 | 0.0084 | V0 | 0.47285 | 0.062187 | V0 | 0.25098 | 0.033433 | V0
[5 empty] | JP104c | 08/31/16 11:35 | 10/05/16 09:00 | 50245 | min | 1.243 | liter per min | 62.4545 | cubic meters |  | data | microgram per cubic meters | 0.4328 | 0.03 | V0 | 0.044032 | 0.02 | V0 | 0.16684 | 0.0084 | V0 | 0.14513 | 0.062187 | V0 | 0.19417 | 0.033433 | V0
[5 empty] | JP104c | 10/05/16 16:35 | 11/01/16 09:45 | 38470 | min | 1.254 | liter per min | 48.2414 | cubic meters |  | data | microgram per cubic meters | 0.41333 | 0.03 | V0 | 0.087726 | 0.02 | V0 | 0.16854 | 0.0084 | V0 | 0.093522 | 0.062187 | V0 | 0.087316 | 0.033433 | V0
[5 empty] | JP104c | 11/01/16 10:55 | 12/01/16 14:00 | 43385 | min | 1.263 | liter per min | 54.7953 | cubic meters |  | data | microgram per cubic meters | 0.56889 | 0.03 | V0 | 0.15924 | 0.02 | V0 | 0.22734 | 0.0084 | V0 | 0.15132 | 0.062187 | V0 | 0.17581 | 0.033433 | V0
[5 empty] | JP104c | 12/01/16 15:25 | 01/04/17 12:05 | 48760 | min | 1.272 | liter per min | 62.0227 | cubic meters |  | data | microgram per cubic meters | 0.57131 | 0.03 | V0 | 0.22734 | 0.02 | V0 | 0.21308 | 0.0084 | V0 | 0.15482 | 0.062187 | V0 | 0.027409 | 0.033433 | V1
[5 empty] | JP107 | 01/05/16 13:50 | 02/04/16 09:20 | 42870 | min | 1.3693 | liter per min | 58.7 | cubic meters |  | data | microgram per cubic meters | 0.98169 | 0.03 | V0 | 0.27087 | 0.02 | V0 | 0.22845 | 0.0084 | V0 | 0.38569 | 0.062187 | V0 | 0.0523 | 0.033433 | V0
[5 empty] | JP107 | 02/04/16 10:30 | 03/02/16 09:20 | 38810 | min | 1.3066 | liter per min | 50.7105 | cubic meters |  | data | microgram per cubic meters | 0.73456 | 0.03 | V0 | 0.14494 | 0.02 | V0 | 0.10866 | 0.0084 | V0 | 0.38079 | 0.062187 | V0 | 0.047919 | 0.033433 | V0
[5 empty] | JP107 | 03/02/16 09:40 | 04/04/16 11:25 | 47625 | min | 1.345 | liter per min | 64.0556 | cubic meters |  | data | microgram per cubic meters | 0.5866 | 0.03 | V0 | 0.10499 | 0.02 | V0 | 0.096166 | 0.0084 | V0 | 0.30427 | 0.062187 | V0 | 0.023417 | 0.033433 | V1
[5 empty] | JP107 | 04/04/16 12:00 | 06/14/16 11:10 | 102190 | min | 1.269 | liter per min | 129.6791 | cubic meters |  | data | microgram per cubic meters | 0.54654 | 0.03 | V0 | 0.20647 | 0.02 | V0 | 0.01789 | 0.0084 | V0 | 0.25756 | 0.062187 | V0 | 0.35286 | 0.033433 | V0
[5 empty] | JP107 | 06/14/16 11:10 | 07/05/16 11:45 | 30275 | min | 1.32 | liter per min | 39.963 | cubic meters |  | data | microgram per cubic meters | 0.3253 | 0.03 | V0 | 0.051297 | 0.02 | V0 | 0.0042539 | 0.0084 | V1 | 0.25579 | 0.062187 | V0 | 0.092405 | 0.033433 | V0
[5 empty] | JP107 | 07/05/16 13:40 | 08/04/16 11:15 | 43055 | min | 1.331 | liter per min | 57.3062 | cubic meters |  | data | microgram per cubic meters | 0.29622 | 0.03 | V0 | 0.023994 | 0.02 | V0 | 0 | 0.0084 | V1 | 0.14469 | 0.062187 | V0 | 0.10333 | 0.033433 | V0
[5 empty] | JP107 | 08/04/16 11:15 | 08/30/16 11:00 | 37425 | min | 1.341 | liter per min | 50.1869 | cubic meters |  | data | microgram per cubic meters | 0.16986 | 0.03 | V0 | 0.01594 | 0.02 | V1 | 0 | 0.0084 | V1 | 0.1148 | 0.062187 | V0 | 0.039331 | 0.033433 | V0
[5 empty] | JP107 | 08/30/16 11:30 | 09/29/16 08:30 | 43020 | min | 1.337 | liter per min | 57.5177 | cubic meters |  | data | microgram per cubic meters | 0.29525 | 0.03 | V0 | 0.02674 | 0.02 | V0 | 0.014083 | 0.0084 | V0 | 0.16165 | 0.062187 | V0 | 0.053365 | 0.033433 | V0
[5 empty] | JP107 | 09/29/16 10:45 | 11/03/16 12:30 | 50505 | min | 1.435 | liter per min | 72.4747 | cubic meters |  | data | microgram per cubic meters | 0.35732 | 0.03 | V0 | 0.053784 | 0.02 | V0 | 0.028286 | 0.0084 | V0 | 0.14006 | 0.062187 | V0 | 0.023587 | 0.033433 | V1
[5 empty] | JP107 | 11/03/16 13:10 | 12/03/16 13:30 | 43220 | min | 1.425 | liter per min | 61.5885 | cubic meters |  | data | microgram per cubic meters | 0.96244 | 0.03 | V0 | 0.20458 | 0.02 | V0 | 0.22163 | 0.0084 | V0 | 0.34944 | 0.062187 | V0 | 0.064253 | 0.033433 | V0
[5 empty] | JP107 | 12/03/16 13:45 | 01/05/17 13:00 | 47475 | min | 1.388 | liter per min | 65.8953 | cubic meters |  | data | microgram per cubic meters | 0.53248 | 0.03 | V0 | 0.20532 | 0.02 | V0 | 0.1816 | 0.0084 | V0 | 0.2768 | 0.062187 | V0 | 0.0025799 | 0.033433 | V1
[5 empty] | JP201 | 01/05/16 11:10 | 02/03/16 09:45 | 41675 | min | 1.3205 | liter per min | 55.0311 | cubic meters |  | data | microgram per cubic meters | 0.47837 | 0.03 | V0 | 0.14537 | 0.02 | V0 | 0.065145 | 0.0084 | V0 | 0.23296 | 0.062187 | V0 | 0.049245 | 0.033433 | V0
[5 empty] | JP201 | 02/03/16 10:20 | 03/02/16 10:56 | 40296 | min | 1.3297 | liter per min | 53.583 | cubic meters |  | data | microgram per cubic meters | 0.59907 | 0.03 | V0 | 0.094246 | 0.02 | V0 | 0.073904 | 0.0084 | V0 | 0.14613 | 0.062187 | V0 | 0.047776 | 0.033433 | V0
[5 empty] | JP201 | 03/02/16 11:30 | 04/08/16 11:55 | 53305 | min | 1.347 | liter per min | 71.8018 | cubic meters |  | data | microgram per cubic meters | 0.66502 | 0.03 | V0 | 0.092268 | 0.02 | V0 | 0.096237 | 0.0084 | V0 | 0.14136 | 0.062187 | V0 | 0.018802 | 0.033433 | V1
[5 empty] | JP201 | 04/08/16 12:40 | 06/18/16 09:50 | 102070 | min | 1.388 | liter per min | 141.6732 | cubic meters |  | data | microgram per cubic meters | 0.4191 | 0.03 | V0 | 0.031234 | 0.02 | V0 | 0.01514 | 0.0084 | V0 | 0.12213 | 0.062187 | V0 | 0.087263 | 0.033433 | V0
[5 empty] | JP201 | 06/18/16 09:50 | 07/05/16 08:15 | 24385 | min | 1.394 | liter per min | 33.9927 | cubic meters |  | data | microgram per cubic meters | 0.26035 | 0.03 | V0 | 0.037508 | 0.02 | V0 | 0 | 0.0084 | V1 | 0.16381 | 0.062187 | V0 | 0.036675 | 0.033433 | V0
[5 empty] | JP201 | 07/05/16 09:00 | 08/05/16 09:20 | 44660 | min | 1.396 | liter per min | 62.3454 | cubic meters |  | data | microgram per cubic meters | 0.23137 | 0.03 | V0 | 0.024862 | 0.02 | V0 | 0 | 0.0084 | V1 | 0.068127 | 0.062187 | V0 | 0.10437 | 0.033433 | V0
[5 empty] | JP201 | 08/05/16 09:45 | 08/30/16 08:20 | 35915 | min | 1.395 | liter per min | 50.1014 | cubic meters |  | data | microgram per cubic meters | 0.28542 | 0.03 | V0 | 0.0094808 | 0.02 | V1 | 0 | 0.0084 | V1 | 0.02738 | 0.062187 | V1 | 0.049954 | 0.033433 | V0
[5 empty] | JP201 | 08/30/16 08:45 | 09/30/16 08:30 | 44625 | min | 1.4 | liter per min | 62.475 | cubic meters |  | data | microgram per cubic meters | 0.26102 | 0.03 | V0 | 0.013413 | 0.02 | V1 | 0.0073629 | 0.0084 | V1 | 0.072215 | 0.062187 | V0 | 0.031444 | 0.033433 | V1
[5 empty] | JP201 | 09/30/16 10:35 | 10/31/16 20:00 | 45205 | min | 1.245 | liter per min | 56.2802 | cubic meters |  | data | microgram per cubic meters | 0.35922 | 0.03 | V0 | 0.046517 | 0.02 | V0 | 0.013682 | 0.0084 | V0 | 0.09208 | 0.062187 | V0 | 0.032052 | 0.033433 | V1
[5 empty] | JP201 | 10/31/16 11:10 | 12/02/16 10:20 | 46030 | min | 1.257 | liter per min | 57.8597 | cubic meters |  | data | microgram per cubic meters | 0.58244 | 0.03 | V0 | 0.21388 | 0.02 | V0 | 0.15857 | 0.0084 | V0 | 0.060062 | 0.062187 | V1 | 0.026443 | 0.033433 | V1
[5 empty] | JP201 | 12/02/16 10:50 | 01/05/17 10:20 | 48930 | min | 1.24 | liter per min | 60.6732 | cubic meters |  | data | microgram per cubic meters | 0.4098 | 0.03 | V0 | 0.13286 | 0.02 | V0 | 0.13365 | 0.0084 | V0 | 0.071512 | 0.062187 | V0 | 0.0024906 | 0.033433 | V1
[5 empty] | JP213 | 01/08/16 11:35 | 02/01/16 10:42 | 30127 | min | 1.38 | liter per min | 41.5742 | cubic meters |  | data | microgram per cubic meters | 0.92425 | 0.03 | V0 | 0.20806 | 0.02 | V0 | 0.12592 | 0.0084 | V0 | 0.32328 | 0.062187 | V0 | 0.069755 | 0.033433 | V0
[5 empty] | JP213 | 02/01/16 11:40 | 03/02/16 14:45 | 39065 | min | 1.4051 | liter per min | 54.8919 | cubic meters |  | data | microgram per cubic meters | 0.71595 | 0.03 | V0 | 0.13527 | 0.02 | V0 | 0.078063 | 0.0084 | V0 | 0.25523 | 0.062187 | V0 | 0.034431 | 0.033433 | V0
[5 empty] | JP213 | 03/02/16 15:20 | 04/05/16 11:00 | 48700 | min | 1.178 | liter per min | 57.3686 | cubic meters |  | data | microgram per cubic meters | 0.72426 | 0.03 | V0 | 0.10938 | 0.02 | V0 | 0.093867 | 0.0084 | V0 | 0.21127 | 0.062187 | V0 | 0.020743 | 0.033433 | V1
[5 empty] | JP213 | 04/05/16 12:05 | 06/17/16 09:20 | 104955 | min | 1.165 | liter per min | 122.2726 | cubic meters |  | data | microgram per cubic meters | 0.58803 | 0.03 | V0 | 0.36599 | 0.02 | V0 | 0.024494 | 0.0084 | V0 | 0.14186 | 0.062187 | V0 | 0.96899 | 0.033433 | V0
[5 empty] | JP213 | 06/17/16 09:20 | 07/05/16 13:10 | 26150 | min | 1.198 | liter per min | 31.3277 | cubic meters |  | data | microgram per cubic meters | 0.38305 | 0.03 | V0 | 0.072619 | 0.02 | V0 | 0.018993 | 0.0084 | V0 | 0.0048653 | 0.062187 | V1 | 0.14139 | 0.033433 | V0
[5 empty] | JP213 | 07/05/16 13:10 | 08/06/16 10:15 | 45905 | min | 1.22 | liter per min | 56.0041 | cubic meters |  | data | microgram per cubic meters | 0.26605 | 0.03 | V0 | 0.041068 | 0.02 | V0 | 0 | 0.0084 | V1 | 0.10124 | 0.062187 | V0 | 0.19748 | 0.033433 | V0
[5 empty] | JP213 | 08/06/16 10:40 | 08/30/16 12:45 | 34685 | min | 1.099 | liter per min | 38.1188 | cubic meters |  | data | microgram per cubic meters | 0.22036 | 0.03 | V0 | 0.017052 | 0.02 | V1 | 0 | 0.0084 | V1 | 0.13169 | 0.062187 | V0 | 0.064666 | 0.033433 | V0
[5 empty] | JP213 | 08/30/16 13:15 | 10/03/16 09:20 | 48725 | min | 1.521 | liter per min | 74.1107 | cubic meters |  | data | microgram per cubic meters | 0.26962 | 0.03 | V0 | 0.022102 | 0.02 | V0 | 0.012279 | 0.0084 | V0 | 0.073491 | 0.062187 | V0 | 0.041035 | 0.033433 | V0
[5 empty] | JP213 | 10/03/16 11:15 | 11/02/16 10:55 | 43180 | min | 1.248 | liter per min | 53.8886 | cubic meters |  | data | microgram per cubic meters | 0.41673 | 0.03 | V0 | 0.05118 | 0.02 | V0 | 0.030619 | 0.0084 | V0 | 0.13897 | 0.062187 | V0 | 0.019804 | 0.033433 | V1
[5 empty] | JP213 | 11/02/16 12:20 | 12/03/16 10:30 | 44530 | min | 1.282 | liter per min | 57.0875 | cubic meters |  | data | microgram per cubic meters | 0.66214 | 0.03 | V0 | 0.18787 | 0.02 | V0 | 0.14452 | 0.0084 | V0 | 0.16518 | 0.062187 | V0 | 0.04715 | 0.033433 | V0
[5 empty] | JP213 | 12/03/16 10:50 | 01/05/17 14:05 | 47715 | min | 1.323 | liter per min | 63.1269 | cubic meters |  | data | microgram per cubic meters | 0.45529 | 0.03 | V0 | 0.17918 | 0.02 | V0 | 0.14332 | 0.0084 | V0 | 0.19123 | 0.062187 | V0 | 0.0014961 | 0.033433 | V1

## META
ORGANIZATION ACRONYM | WBEA
ORGANIZATION NAME | Wood Buffalo Environmental Association
FILE CONTENTS DESCRIPTION | Denuder Sampler Measurements of Particulate and gaseous phase inorganic species by IC
CONTACT PERSON NAME | Sanjay Prasad | 1-780-799-4420
SAMPLING INTERVAL | Monthly
SAMPLING FREQUENCY OF DATA | Once per month
EXPLANATION OF ZERO VALUES | Zero values are contained in this file and should be treated as values below detection
UNITS | µg/m3 (microgram per cubic meter)
OBSERVATION TYPE | Particles and Gases
FIELD SAMPLING OR MEASUREMENT PRINCIPLE | Filtration with URG PM2.5 cyclone inlet for particles and diffusion for gases
PARTICLE DIAMETER | < 2.5 µm
MEDIUM | 47 mm KCl coated quartz filter, KCl coated denuder and citric acid coated denuder
ANALYTICALMETHODS | IONS by Ion Chromatography (IC)
SAMPLE PREPARATION | DI Water extraction for IC analysis
ANALYTICAL LABORATORY | 2015- current | Atmospheric Research & Analysis Inc
USER NOTE 1 | Data are field blank corrected
USER NOTE 2 | Volume is given at actual conditions of temperature and pressure during sampling as measured by the sampler
USER NOTE 3 | MDL calculation is based on sampling volume of 50 m3
SAMPLING INSTRUMENT TYPE | URG PM2.5 cyclone inlet with denuders and a filter holder
FLAGS USED
| V0 | Valid value
| V1 | Valid value but comprised wholly or partially of below detection limit data
| V4 | Valid value despite failing to meet some QC or statistical criteria
| V5 | Valid value but qualified because of possible contamination
| V6 | Valid value but qualified due to non-standard sampling conditions
| M1 | Missing value because no value is available
| M2 | Missing value because invalidated by Data Originator
SITE INFORMATION
| WBEA ID | STATION NAME | Lat. Decimal | Long. Decimal
| JP104 |  | 57.119 | -111.4254
| JP107 |  | 57.8903 | -111.4352
| JP201 |  | 57.0321 | -113.7355
| JP213 |  | 57.0473 | -109.7497