Wood Buffalo Environmental Association

Ambient Air Monitoring Station

Site Documentation

# AMS 512 - Hangingstone Expansion

LAST UPDATED: February 18, 2026

Table of Contents

Station	4

Location	4

Owner/Operator/Approval Holder	4

Site Description	4

Site Influences	5

Localized Sources (within 20 metres of station)	5

Roadway Influences	5

Major Point Sources	5

Station Equipment	6

Analytical Equipment	6

Meteorolgical Equipment	6

Support Equipment	6

Site photos	11

Station Photos	16

Tables and Figures

Figure 1 – Area topographic map showing AMS 512	8

Figure 2 – Aerial photo showing AMS 512	9

Figure 3 – Plan view sketch for AMS 512 site	10

Figure 4 – Elevation view image for AMS 512 site	11

Figure 5 – Environment looking North	12

Figure 6 – Environment looking East	13

Figure 7 – Environment looking South	14

Figure 8 – Environment looking West	15

Figure 9 – Meteorological Tower	16

Figure 10 – Photo showing the inlet and sample manifold	17

Figure 11 – Curb shot of the monitoring station	18

Figure 12 –Photo of the front and the back of instrument rack	19

Figure 13 – Windrose (2020-2025)	20

General Site Information

## Station

| Station ID | AMS 512 |
| --- | --- |
| Station name | Hangingstone Expansion |
| Date station established | July 1, 2024 |

## Location

| Station street address | NA |
| --- | --- |
| Legal land description | 12-13-84-11-W4 |
| Airshed Zone | Wood Buffalo Environmental Association |
| Latitude | 56.283250 |
| Longitude | -111.608580 |
| UTM East | 462323 |
| UTM North | 6237772 |
| Nearest community | Fort McMurray |
| Community population | 68,002 |
| Census Year | 2021 |

## Owner/Operator/Approval Holder

| Operating Agency | Wood Buffalo Environmental Association |
| --- | --- |
| Address of Operating Agency | Unit 3, 805 Memorial Drive, Fort McMurray, Alberta T9K 0K4 |
| Name of Approval Holder | Greenfire Resources |
| Approval number | 153105-01-00 |
| Contact Name | Thomas Courte |
| Address | NA |
| Phone number | 403-993-9736 |
| Email address | tcourte@greenfireres.com |

## Site Description

| Land use by sector | 0 – 90 degrees | Lay-down yard/Muskeg |
| --- | --- | --- |
|  | 91 – 180 degrees | Muskeg/Access Road |
|  | 181 – 270 degrees | SAGD plant |
|  | 271 – 360 degrees | Lay-down yard/Access Road/Muskeg |
| Site elevation (m) (above sea level) |  |  |
| Angle of elevation to nearby buildings | Greatest angle | N/A |
|  | Building direction | N/A |
| Airflow restrictions | North | N/A |
|  | East | N/A |
|  | South | N/A |
|  | West | N/A |
| Distance to nearest trees (m) | North | 100m |
|  | East | 50m |
|  | West | 50m |
|  | South | 40m |
| Sample manifold | Type | All glass |
|  | Inlet height above roof | 1 metre |
| Meteorological Sensors | Type | Cup and vane |
|  | Height above ground (m) | 10 |
|  | Distance from station (m) | 0 |

# Site Influences

## Localized Sources (within 20 metres of station)

| Type | Distance (m) | Description |
| --- | --- | --- |
| Lay down | 20m | Lay down for equipment and rig mats |

## Roadway Influences

| Type | Traffic Volume | Distance (m) | Description |
| --- | --- | --- | --- |
| Access Road | Low | 20m | Roadway used by site workers |
| Main Access Road | High | 100m | Main Road to go to Site |

## Major Point Sources

| Facility Name | Source Type | Production Capacity | Distance from site (km) | Compass direction from site |
| --- | --- | --- | --- | --- |
| Green fire Expansion | SAGD |  | 0.7 | SW |
| Green fire Demo Plant | SAGD |  | 4.8 | NW |

# Station Equipment

Equipment Owner:

## Analytical Equipment

| Parameter | Make | Model | Serial Number | Date Installed |
| --- | --- | --- | --- | --- |
| SO2 | Thermo Environmental | 43i | 1173410001 | June 2024 |
| H2S | Thermo Environmental | 34iTLE | 1336160090 | June 2024 |
| NO2 | Teledyne/API | T200 | 7029 | June 2024 |
| H2S | Global Converter | G150 | 11638 | June 2024 |

## Meteorolgical Equipment

| Parameter | Make | Model | Serial Number | WMO Site Class | Date Installed |
| --- | --- | --- | --- | --- | --- |
| AT/RH | Vaisala | HMP155 | H5110025 | 4 | June 2024 |
| WS | Met One | 010C-1 | B10017 | 4 | June 2024 |
| WD | Met One | 020C-1 | D13603 | 4 | June 2024 |

## Support Equipment

| Name | Description | Make | Model | Serial Number |
| --- | --- | --- | --- | --- |
| Datalogger | Datalogger | Campbell Scientific | CR3000 | 2575 |
| Gas Dilution Calibrator | Dynamic dilution calibrator | Teledyne/API | T700 | 2445 |
| Zero air generator | Zero Air Generator | Teledyne/API | 701 | 138 |
| Shelter / Building | Air monitoring portable | ITB | 8 x 16 trailer | ITB-13-16018 |
| HVAC | Heating and air conditioning system. Wall mount unit | BARD | 1 ton | N/A |

Figure 1 – Area topographic map showing AMS 512

Figure 2 – Aerial photo showing AMS 512

Figure 3 – Plan view sketch for AMS 512 site

Figure 4 – Elevation view image for AMS 512 site

# Site photos

The following photos show the environment surrounding the monitoring station.

Figure 5 – Environment looking North

Figure 6 – Environment looking East

Figure 7 – Environment looking South

Figure 8 – Environment looking West

Figure 9 – Meteorological Tower

# Station Photos

The following photos show the monitoring station and instrumentation.

Figure 10 – Photo showing the inlet and sample manifold

Figure 11 – Curb shot of the monitoring station

Figure 12 –Photo of the front and the back of instrument rack

Figure 13 – Windrose (2020-2025)