Wood Buffalo Environmental Association

Ambient Air Monitoring Station

Site Documentation

# Monday Creek

LAST UPDATED: March 02, 2026

Table of Contents

General Site Information	4

Station	4

Location	4

Owner/Operator/Approval Holder	4

Site Description	5

Site Influences	5

Localized Sources	5

Roadway Influences	5

Major Point Sources	6

Analytical Equipment	6

Meteorological Equipment	6

Support Equipment	6

Site photos	10

Station Photos	15

Tables and Figures

Figure 1.0 – Area topographic map showing AMS 33.	7

Figure 2.0 – Plan view image for AMS 33 site.	8

Figure 3.0 – Aerial photo showing AMS 33.	9

Figure 4.0 – Environment looking North.	10

Figure 4.1 – Environment looking East.	11

Figure 4.2 – Environment looking South.	12

Figure 4.3 – Environment looking West.	13

Figure 5.0 – Meteorological tower.	14

Figure 6.0 – Photo showing the inlet and sample manifold.	15

Figure 7.0 – Curb shot of the monitoring station.	16

Figure 8.0 –Photo of front and back of instrument rack.	17

Figure 9.0 – Windrose (Five Year).	18

# General Site Information

## Station

| Station ID | AMS 33 |
| --- | --- |
| Station name | Monday Creek |
| Date station established | November 7, 2024 |

## Location

| Station street address | Located close to a non-operational well-pad L03 and L04 at Cenovus SAGD site |
| --- | --- |
| Legal land description | 3-16-76-6 W4 |
| Latitude | 55.593883 |
| Longitude | -110.834154 |
| UTM East | 507816.87 |
| UTM North | 6159249.07 |
| Nearest community | Conklin |
| Community population | 178 |

## Owner/Operator/Approval Holder

| Operating Agency | Wood Buffalo Environmental Association |
| --- | --- |
| Name of Approval Holder | Cenovus Energy Inc. |
| Approval number | 48522-01-00 |
| Contact Name | Sean Nichols |
| Address | 500 Centre Street SE Calgary, AB T2P 0M5 |
| Phone number | 780-608-7176 |
| Email address | Sean.nichols@cenvous.com |

## Site Description

| Land use by sector | 0 – 90 degrees | SAGD Operations |
| --- | --- | --- |
|  | 91 – 180 degrees | SAGD Operations |
|  | 181 – 270 degrees | SAGD Operations |
|  | 271 – 360 degrees | SAGD Operations |
| Site elevation (Above sea level) | 569.6m |  |
| Angle of elevation to nearby building | Greatest angle | N/A |
|  | Building direction | N/A |
| Airflow restrictions | North | N/A |
|  | East | N/A |
|  | South | N/A |
|  | West | N/A |
| Distance to nearest trees (m) | North | N/A |
|  | East | N/A |
|  | West | N/A |
|  | South | 70 |
| Sample manifold | Type | All glass |
|  | Inlet height above roof | 1 meter |
| Meteorological Sensors | Type | Cup and vane |
|  | Height above ground | 10 |
|  | Distance from station | 7 |

# Site Influences

## Localized Sources

| Type | Distance (m) | Description |
| --- | --- | --- |

## Roadway Influences

| Type | Traffic Volume | Distance (m) | Description |
| --- | --- | --- | --- |
| Dirt/gravel | Medium | 20 | Used by site workers |

## Major Point Sources

| Facility Name | Source Type | Production Capacity | Distance from site (m) | Compass direction from site |
| --- | --- | --- | --- | --- |
| Cenovus Christina Lake | SAGD Facility |  | 2700 | SW |

# Analytical Equipment

| Parameter | Owner | Make | Model | Serial Number | Date Installed |
| --- | --- | --- | --- | --- | --- |
| SO2 | Cenovus | Thermo Instruments | 43i | 1152430005 | 2024 |
| H2S | Cenovus | Thermo Instruments | 43iQTL | 12333331547 | 2024 |
| NOx | Cenovus | Thermo Instruments | 42i | 1170050148 | 2026 |

## Meteorological Equipment

| Parameter | Make | Model | Serial Number | WMO Site Class | Date Installed |
| --- | --- | --- | --- | --- | --- |
| AT/RH | Vaisala | HMP155 | G4330034 | 4 | 2024 |
| WS | Met One | 010C-1 | D16123 | 2 | 2024 |
| WD | Met One | 020C-1 | N13744 | 2 | 2024 |

# Support Equipment

| Name | Description | Make | Model | Serial Number |
| --- | --- | --- | --- | --- |
| Datalogger | Datalogger | Campbell Scientific | CR3000 | 7881 |
| Zero air generator | Zero Air Generator | Teledyne/API | 701 | 832 |
| HVAC | Heating and air conditioning system. Wall mount unit | BARD | 1 ton | NA |
| Shelter / Building | Air monitoring portable | ITB | 8 x 16 trailer | NA |
| Gas Dilution Calibrator | Mass flow-controlled gas dilution | Teledyne/API | T700 | 3253 |
| Tower | 10 Meter crank up | Aluma | T-135 | 217224002 |

Figure 1.0 – Area topographic map showing AMS 33.

Figure 2.0 – Plan view image for AMS 33 site.

Figure 3.0 – Aerial photo showing AMS 33.

# Site photos

The following photos show the environment surrounding the monitoring station.

Figure 4.0 – Environment looking North.

Figure 4.1 – Environment looking East.

Figure 4.2 – Environment looking South.

Figure 4.3 – Environment looking West.

Figure 5.0 – Meteorological tower.

# Station Photos

The following photos show the monitoring station and instrumentation.

Figure 6.0 – Photo showing the inlet and sample manifold.

Figure 7.0 – Curb shot of the monitoring station.

Figure 8.0 –Photo of front and back of instrument rack.

Figure 9.0 – Windrose (Five Year).