Wood Buffalo Environmental Association

Ambient Air Monitoring Station

Site Documentation

# IPC Blackrod

LAST UPDATED: March 02, 2026

Table of Contents

General Site Information	4

Station	4

Location	4

Owner/Operator/Approval Holder	4

Site Description	5

Site Influences	5

Localized Sources	5

Roadway Influences	5

Major Point Sources	5

Analytical Equipment	6

Meteorological Equipment	6

Support Equipment	6

Site photos	11

Station Photos	16

Tables and Figures

Figure 3.0 – Plan view image for AMS 31 site.	7

Figure 4.0 – Aerial photo showing AMS 31.	8

Figure 5.0 – Elevation view image for AMS 31.	9

Figure 6.0 – Environment looking North.	10

Figure 6.1 – Environment looking East.	11

Figure 6.2 – Environment looking South.	12

Figure 6.3 – Environment looking West.	13

Figure 6.4 – Meteorological tower.	14

Figure 7.0 – Photo showing the inlet and sample manifold.	15

Figure 7.1 – Curb shot of the monitoring station.	16

Figure 7.2 –Photo of front and back of instrument rack.	17

Figure 8.0 – Windrose (Five Year).	18

# General Site Information

Revision Date: March 02, 2026

## Station

| Station ID | AMS 31 |
| --- | --- |
| Station name | IPC Blackrod |
| Date station established | November 21, 2024 |

## Location

| Station street address | NA |
| --- | --- |
| Legal land description | 15-25-76-18-W4 |
| Latitude | 55.61877 |
| Longitude | -112.65449 |
| UTM East | 570168.862 |
| UTM North | 5650300.787 |
| Nearest community | Wandering river |
| Community population | 500 |

## Owner/Operator/Approval Holder

| Operating Agency | Wood Buffalo Environmental Association |
| --- | --- |
| Name of Approval Holder | IPC Blackrod |
| Approval number | 00301778-00-01 |
| Contact Name | Greg Currie |
| Address | Lac La Biche, AB T0A 3M0 |
| Phone number | +1 403 536 4693 |
| Email address | Greg.currie@international-petroleum.com |

## Site Description

| Land use by sector | 0 – 90 degrees | Compressor shack |
| --- | --- | --- |
|  | 91 – 180 degrees | Well pads |
|  | 181 – 270 degrees | SAGD facility |
|  | 271 – 360 degrees | SAGD facility |
| Site elevation (Above sea level) |  |  |
| Angle of elevation to nearby building | Admin bldg | <5 degrees |
| Airflow restrictions | North | None |
|  | East | None |
|  | South | None |
|  | West | None |
| Sample manifold | Type | All glass |
|  | Inlet height above roof | >1 meter |
| Meteorological Sensors | Type | Cup and vane |
|  | Height above ground | 10 |
|  | Distance from station | 7 |

# Site Influences

## Localized Sources  (within 20 metres of station)

| Type | Distance (m) | Description |
| --- | --- | --- |
| Admin Bldg | 8 |  |
| Portable toilet | 5 |  |

## Roadway Influences

| Type | Traffic Volume | Distance (m) | Description |
| --- | --- | --- | --- |
| Dirt/gravel | Medium |  | Used by site workers |

## Major Point Sources

| Facility Name | Source Type | Production Capacity | Distance from site (m) | Compass direction from site |
| --- | --- | --- | --- | --- |
| IPC Blackrod | SAGD Facility |  |  | W |

# Analytical Equipment

| Parameter | Owner | Make | Model | Serial Number | Date Installed |
| --- | --- | --- | --- | --- | --- |
| SO2 | Blackrod | Thermo Instruments | 43i | 1160290014 | Nov 20, 2024 |
| H2S | Blackrod | Thermo Instruments | 43iQTL | 12228021056 | Nov 21, 2024 |
| NO2 | Blackrod | Thermo Instruments | 42i | 1173480006 | Nov 20, 2024 |
| THC | Blackrod | Thermo Instruments | 51i | 1505164580 | Feb 3, 2026 |

## Meteorological Equipment

| Parameter | Make | Model | Serial Number | WMO Site Class | Date Installed |
| --- | --- | --- | --- | --- | --- |
| AT/RH | Vaisala | HMP155 | W3726142 | 4 | Dec 09, 2024 |
| WS | Met One | 010C-1 | E15359 | 2 | Nov 21, 2024 |
| WD | Met One | 020C-1 | E13779 | 2 | Nov 21, 2024 |

# Support Equipment

| Name | Description | Make | Model | Serial Number |
| --- | --- | --- | --- | --- |
| Datalogger | Datalogger | Campbell Scientific | CR3000 | 1220 |
| Zero air generator | Zero Air Generator | Teledyne/API | 701 | 72 |
| HVAC | Heating and air conditioning system. Wall mount unit | BARD | 1 ton | NA |
| Shelter / Building | Air monitoring portable | ITB | 8 x 16 trailer | NA |
| Gas Dilution Calibrator | Mass flow-controlled gas dilution | Teledyne/API | T700 | 1220 |
| Tower | 10 Meter crank up | Aluma | T-135 | 217224002 |

Figure 3.0 – Plan view image for AMS 31 site.

Figure 4.0 – Aerial photo showing AMS 31.

Figure 5.0 – Elevation view image for AMS 31.

# Site photos

The following photos show the environment surrounding the monitoring station.

Figure 6.0 – Environment looking North.

Figure 6.1 – Environment looking East.

Figure 6.2 – Environment looking South.

Figure 6.3 – Environment looking West.

Figure 6.4 – Meteorological tower.

# Station Photos

The following photos show the monitoring station and instrumentation.

Figure 7.0 – Photo showing the inlet and sample manifold.

Figure 7.1 – Curb shot of the monitoring station.

Figure 7.2 –Photo of front and back of instrument rack.

Figure 8.0 – Windrose (Five Year).